## Sheet1
|  |  | Report Date | 2021-03-19
Item Number | Description | Manufacturer | Model Number | Location | Asset Number | Serial Number | Last Action Date | Due Date
13 | Emerson/Rosemont Pressure Transmitter | Emerson/Rosemont | 3051SMV5M11A3R2E11A1AC12B4Q4 | Balometer Lab | LW-FB01-FC01 | 478665 | 2016-02-19 | 2017-02-18
14 | Emerson/Rosemont RTD | Emerson/Rosemont | 68D11N00N040XA | Balometer Lab | LW-FB01-FC01-RTD01 | 1730229 | 2016-02-19 | 2017-02-18
17 | Ashcroft Module | Ashcroft | GQS-2 | R54 | MW-PM005 | 60933 | 2020-02-24 | 2021-02-23
20 | Ashcroft Module | Ashcroft | GQS-1 | R54 | MW-PM006 | 60804 | 2020-03-06 | 2021-03-06
23 | Ashcroft Module | Ashcroft | GQS-2 | R54 | MW-PM007 | 59241 | 2020-02-24 | 2021-02-23
34 | Orifice Plate | Unknown | 32.5MM | Sensing Precision Wind Tunnel | MW-FB04-OP01 |  | 2018-03-19 | 2019-03-19
35 | Orifice Plate | Unknown | 45.0MM | Sensing Precision Wind Tunnel | MW-FB04-OP02 |  | 2020-01-31 | 2021-01-30
36 | Orifice Plate | Unknown | 72.2MM | Sensing Precision Wind Tunnel | MW-FB04-OP03 |  | 2020-01-31 | 2021-01-30
37 | Orifice Plate | Unknown | 101.6MM | Sensing Precision Wind Tunnel | MW-FB04-OP04 |  | 2020-01-31 | 2021-01-30
38 | Orifice Plate | Unknown | 150.0MM | Sensing Precision Wind Tunnel | MW-FB04-OP05 |  | 2020-01-31 | 2021-01-30
39 | Orifice Plate | Unknown | 164.0MM | Sensing Precision Wind Tunnel | MW-FB04-OP06 |  | 2020-01-31 | 2021-01-30
54 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC004 | 4207 | 2019-01-09 | 2018-04-13
65 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ04 | 87752 | 2019-07-19 | 2020-01-17
67 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ06 | 87813 | 2020-01-24 | 2021-01-23
71 | SAH Lab | None |  | SAH Lab | LW-FB01 |  | 2016-03-04 | 2017-03-04
81 | Digital Multimeter | Agilent | 34401A | R64 | MW-DMM01 | MY53007998 | 2020-02-06 | 2021-02-05
82 | Digital Multimeter | Agilent | 34401A | R64 | MW-DMM02 | MY47039018 | 2020-08-28 | 2021-02-26
86 | Flow Indicator | Durant | 57701-470 | MC Flow Lab | LW-FB06-IND01 | 119902-3 | 2016-03-17 | 2017-03-17
87 | Anemometer | TSI | 8455-12 | MC Flow Lab | LW-FB02-ANM01 | 601137 | 2020-09-30 | 2020-12-30
89 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ09 | 89449 | 2019-10-21 | 2020-10-20
91 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ11 | MY44083550 | 2020-03-17 | 2021-03-17
92 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC01 | US37242214 | 2020-03-17 | 2021-03-17
93 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC02 | MY41016021 | 2016-05-10 | 2017-05-10
94 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC03 | MY41005792 | 2019-08-27 | 2020-02-25
96 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ12 | MY41018560 | 2020-05-05 | 2020-11-03
97 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC04 | MY41015860 | 2020-05-05 | 2020-11-03
98 | Agilent DAQ Card | HP | 34901A | MC Lab | LW-DAQC05 | US37006453 | 2020-05-05 | 2020-11-03
99 | Agilent DAQ Card | HP | 34901A | MC Lab | LW-DAQC06 | MY41020422 | 2020-05-05 | 2020-11-03
100 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ13 | US37022211 | 2020-03-05 | 2021-03-05
101 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC07 | MY41005788 | 2016-06-09 | 2017-06-09
102 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC08 | US37241737 | 2020-03-05 | 2021-03-05
103 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC09 | US37016841 | 2020-03-05 | 2021-03-05
104 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC006 | 49387 | 2020-02-03 | 2021-02-02
112 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC13 | MY41199676 | 2016-03-16 | 2015-07-12
113 | Pressure Controller | Druck | DPI-515 | MC Lab | LW-PC01 | 51500366 | 2020-09-23 | 2019-09-15
116 | Portable low-pressure controller | Mensor | CPC2000 | MC Lab | LW-PC04 | 3832414 | 2020-03-09 | 2020-09-07
129 | Flow Indicator | Durant | 57701-470 | MC Flow Lab | LW-FB07-IND02 | 110003-1 | 2016-03-22 | 2017-03-17
131 | Eurotron Multi-Function Caliobrator | Eurotron | MicroCal 2000+ | MC Lab | LW-MFC006 | 85250 | 2018-12-12 | 2019-03-13
133 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM031 | 15366 | 2020-02-18 | 2021-02-17
138 | Flow Indicator | Durant | 57701-470 | MC Flow Lab | LW-FB08-IND03 | 119902-2 | 2016-04-25 | 2017-04-25
151 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC007 | 2655 | 2017-05-19 | 2018-05-19
155 | Ashcroft Calibrator | Ashcroft | MC6 | R64 490W | MW-MFC010 | 49529 | 2020-08-04 | 2021-02-02
156 | Ashcroft Calibrator | Ashcroft | MC6 | Manufacturing Engineering | MW-MFC011 | 49528 | 2019-06-27 | 2020-06-26
158 | FLIR Thermal Imaging Camera | FLIR | E40 | MC Lab | LW-TIC01 | 490002360 | 2017-06-06 | 2018-06-06
159 | Fluke/Hart Scientific Digital Temperature Indicator | Fluke | 1502A | MC Lab | LR-DTR01 | B23042 | 2020-09-11 | 2021-03-12
160 | RTD Probe | Fluke | 5616-12 | MC Lab | LR-DTR01-RTD01 | 39713 | 2018-09-19 | 2019-03-20
162 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB08-FM03 | 7ME611 064112U242 | 2020-03-02 | 2020-06-01
164 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB09-FM04 | 7ME611 099712U083 | 2017-01-20 | 2017-11-30
165 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB06-FM02 | 688012U455 | 2020-01-08 | 2020-04-08
174 | Anemometer | TSI | 8455-12 | R64 | MW-FB02-ANM03 | 60040051 | 2019-01-03 | 2020-01-03
178 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM041 | 7891 | 2019-11-07 | 2020-11-06
183 | Pace Pressure Module | GE/Druck | CM2-01G | MC Lab | LW-PCM02 | 3320070 | 2019-11-22 | 2020-11-21
184 | Pace Pressure Module | GE/Druck | CM2-10G | MC Lab | LW-PCM03 | 4154984 | 2020-01-30 | 2020-07-30
185 | Omega Humidity, Temperature and Barometric Pressure | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP01 | 4140549 | 2016-04-26 | 2016-10-27
189 | Pace Pressure Module | GE/Druck | CM0-008G | Balometer Lab | MW-PCM01 | 10410536 | 2016-04-29 | 2017-04-25
190 | Pace Pressure Module | GE/Druck | CM2-04G | MC Lab | LW-PCM05 | 3519664 | 2020-04-29 | 2020-10-28
210 | Pace Pressure Module | GE/Druck | CM2-B-13G | MC Lab | LW-PCM06 | 3865256 | 2019-08-15 | 2019-08-15
211 | Pace Pressure Module | GE/Druck | CM2-16G | MC Lab | LW-PCM07 | 3793149 | 2020-04-14 | 2020-10-13
219 | Ashcroft Module | Ashcroft | GQS-1 | California | MW-PM034 | 38233 | 2016-07-06 | 2017-07-06
220 | Ashcroft Module | Ashcroft | GQS-2 | R54 | MW-PM035 | 57462 | 2020-02-04 | 2021-02-03
221 | Ashcroft Module | Ashcroft | GQS-1 | California | MW-PM036 | 7892 | 2016-07-06 | 2017-07-06
222 | Ashcroft Module | Ashcroft | GQS-2 | R54 | MW-PM037 | 57247 | 2020-02-06 | 2021-02-05
224 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC016 | 50152 | 2020-08-04 | 2021-02-02
226 | Humidity & Temperature Meter | Vaisala | HMT333 | R64 | MW-HMT02 | J3050105 | 2018-08-15 | 2019-08-15
230 | Ashcroft Module | Ashcroft | AQS-2 | R64 | MW-PM042 | 61061 | 2020-01-29 | 2021-01-28
234 | Measurement Computing DAQ | Engineering Lab Design | USB-1616HS | Manufacturing Wind Tunnel | MW-FB01-DAQ01 | 373641 | 2018-05-17 | 2019-05-17
235 | Anemometer | TSI | 8455-12 | R64 | MW-FB02-ANM04 | 3090447 | 2020-02-21 | 2021-02-20
236 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ15 | 91941 | 2020-02-18 | 2021-02-17
240 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM054 | 10667 | 2019-11-08 | 2020-11-07
241 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM055 | 58168 | 2020-06-19 | 2020-12-18
248 | Azonix RTD Thermometer | Azonix | A1011-RS-XX-RT41 | MC Lab | LW-TR01 | T1801-3260 | 2016-06-22 | 2016-08-09
249 | Pyromation Platinum Resistance Thermometer RTD | Pyromation | R5T185L434-012-00-15-T3072-2 | MC Lab | LW-TR01-RTD01 | 28788 | 2016-06-22 | 2016-08-09
252 | Ashcroft Calibrator | Ashcroft | MC2 | R54 | MW-MFC018 | 14639 | 2019-05-03 | 2020-05-02
257 | Vaisala Humidity & Temperature Meter | Vaisala | HMT333 | MC Lab | LW-HMT05 | C0410008 | 2018-09-07 | 2018-12-07
260 | Ashcroft Module | Ashcroft | GQS-2 | MC Lab | LW-PM056 | 6058 | 2020-01-28 | 2021-01-27
269 | Ashcroft Module | Ashcroft | GQS-1 | R64 | MW-PM049 | 59843 | 2020-03-03 | 2021-03-03
271 | Ashcroft Module | Ashcroft | GQS-1 | R64 | MW-PM051 | 59845 | 2020-02-03 | 2021-02-02
274 | Ashcroft Module | Ashcroft | GQS-1 | R64 | MW-PM054 | 60803 | 2020-02-03 | 2021-02-02
277 | Ashcroft Calibrator | Ashcroft | MC6 | R64 | MW-MFC022 | 49788 | 2020-02-04 | 2021-02-03
281 | Humidity & Temperature Meter | Vaisala | HMT331 | Proximity Controls | MW-HMT04 | E1750202 | 2020-09-15 | 2021-03-16
283 | Master Gauge | Wika | Wika | Wolcott | MW-PI06 | 600-15 | 2019-01-30 | 2019-08-14
293 | Carbon Dioxide Probe | Vaisala | GMP343 | Australia | MR-COT06 | M2120002 | 2020-03-09 | 2018-04-10
294 | Barometer | Control Company | 6530 | Australia | LW-PI01 | 160256966 | 2016-07-21 | 2018-02-18
296 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, LIN, 5IN, GAS: N2 | Grandview | MW-FM02 | 104989 | 2019-05-17 | 2020-05-16
298 | Ashcroft Calibrator | Ashcroft | MC6 | MC Lab | LW-MFC011 | 51163 | 2019-12-18 | 2020-12-17
301 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC014 | 4211 | 2018-10-23 | 2019-10-23
305 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM063 | 25852 | 2020-02-04 | 2021-02-03
312 | Waterproof Stopwatch | Control Company | 94460-55 | MC Flow Lab | LW-SW01 | 160236589 | 2018-02-28 | 2018-02-28
313 | Humidity & Temperature Meter | Vaisala | HMT333 | Manufacturing Engineering | MW-HMT05 | M3020201 | 2016-08-02 | 2017-07-26
314 | Ashcroft Module | Ashcroft | GQS-1 | R64 | MW-PM057 | 55461 | 2020-02-19 | 2021-02-18
317 | Ashcroft Module | Ashcroft | AQS-2 | R64 | MW-PM060 | 61226 | 2019-11-14 | 2020-11-13
318 | Ashcroft Module | Ashcroft | GQS-2 | R64 | MW-PM061 | 57248 | 2020-02-17 | 2021-02-16
324 | Ashcroft Module | Ashcroft | AQS-2 | R54 | MW-PM067 | 58848 | 2020-02-06 | 2021-02-05
328 | Master Gauge | Robertshaw | Robertshaw | Wolcott | MW-PI13 | 100-12 | 2020-03-06 | 2021-03-06
335 | Ashcroft Module | Ashcroft | GQS-1 | R64 | MW-PM076 | 59898 | 2020-02-07 | 2021-02-06
336 | Ashcroft Module | Ashcroft | GQS-1 | R64 | MW-PM077 | 58167 | 2020-02-04 | 2021-02-03
340 | Ashcroft Module | Ashcroft | GQS-1 | R54 | MW-PM078 | 59995 | 2020-03-06 | 2021-03-06
345 | Dry Block Calibrator | Fluke | Fluke 9100S, Transcat 5853T | MC Lab | LW-DBC01 | B36677 | 2017-09-08 | 2018-09-08
346 | Digital Pressure Gauge | Dwyer | DPG-105 | MC Flow Lab | LW-FB04-DPI03 | M07918 | 2018-10-18 | 2019-10-18
348 | Pace Pressure Module | GE/Druck | CM0-02G | R64 | MW-PCM03 | 10484356 | 2016-08-12 | 2017-07-25
349 | Pace Pressure Module | GE/Druck | CM0-02G | R64 | MW-PCM04 | 10490894 | 2016-08-10 | 2017-08-10
351 | RTD Probe | Fluke | 5616-12 | MC Lab | LR-DTR02-RTD02 | 71040 | 2018-10-31 | 2019-01-30
357 | Digital Multimeter | Agilent | 34401A | MC Lab | LS-DMM11 | MY41047064 | 2019-11-14 | 2020-02-13
358 | Dwyer Pressure Transmitter | Dwyer | 3200G-5-FM-1-1-1-LCD | R54 | MW-PT03 | DWY3200-11150355 | 2016-08-23 | 2017-08-23
359 | Fluke Calibrator | Fluke | 715 | Manufacturing Engineering | MW-MFC038 | 3529408 | 2019-04-11 | 2020-04-10
363 | Ashcroft Module | Ashcroft | AQS-2 | R54 | MW-PM083 | 62677 | 2020-03-06 | 2021-03-06
365 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ17 | 89455 | 2020-01-24 | 2021-01-23
367 | Master Gauge | Helicoid | Helicoid | Wolcott | MW-PI16 | 600-11 | 2016-08-26 | 2017-08-26
368 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, 5IN, GAS: Air | Grandview | MW-FM03 | 136850 | 2019-05-17 | 2020-05-16
369 | Ashcroft Module | Ashcroft | GQS-2 | MC Lab | LW-PM064 | 58309 | 2020-01-23 | 2021-01-22
370 | Ashcroft Module | Ashcroft | GQS-2 | MC Lab | LW-PM065 | 58312 | 2020-02-07 | 2021-02-06
376 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC039 | 49003 | 2020-12-02 | 2021-03-03
378 | Ashcroft Module | Ashcroft | GQS-2 | South Bend Warehouse | MW-PM085 | 60083 | 2020-02-04 | 2021-02-03
379 | Ashcroft Module | Ashcroft | GQS-2 | South Bend Warehouse | MW-PM086 | 60084 | 2020-02-04 | 2021-02-03
380 | Ashcroft Module | Ashcroft | GQS-2 | South Bend Warehouse | MW-PM087 | 59877 | 2020-02-04 | 2021-02-03
381 | Ashcroft Module | Ashcroft | GQS-2 | South Bend Warehouse | MW-PM088 | 59879 | 2020-02-04 | 2021-02-03
382 | Ashcroft Module | Ashcroft | GQS-2 | South Bend Warehouse | MW-PM089 | 59935 | 2020-02-04 | 2021-02-03
383 | Ashcroft Module | Ashcroft | GQS-2 | South Bend Warehouse | MW-PM090 | 59988 | 2020-02-04 | 2021-02-03
384 | Ashcroft Module | Ashcroft | GQS-2 | South Bend Warehouse | MW-PM091 | 59470 | 2020-02-04 | 2021-02-03
385 | Ashcroft Module | Ashcroft | GQS-2 | South Bend Warehouse | MW-PM092 | 60082 | 2020-02-04 | 2021-02-03
386 | Ashcroft Module | Ashcroft | GQS-2 | MC Lab | LW-PM066 | 58310 | 2020-01-23 | 2021-01-22
389 | Ashcroft Calibrator | Ashcroft | MC6 | R64 | MW-MFC042 | 49343 | 2020-01-22 | 2021-01-21
391 | Sentinel Leak Test Instrument | Cincinnati Test Systems | C-20 | R54 | MW-LRT01 | 33378-1844, LS44139 | 2016-10-24 | 2017-10-24
392 | Sentinel Leak Test Instrument | Cincinnati Test Systems | C-20 | Wolcott | MW-LRT02 | 52883-3729, LS94688 | 2016-10-22 | 2017-10-22
393 | Ashcroft Calibrator | Ashcroft | MC6 | MC Lab | LW-MFC018 | 49306 | 2020-02-06 | 2021-02-05
394 | Ashcroft Module | Ashcroft | AQS-1 | MC Lab | LW-PM067 | 11568 | 2020-02-07 | 2021-02-06
398 | Master Gauge | Helicoid | Helicoid | Wolcott | MW-PI17 | 1000 - 6 | 2018-08-31 | 2019-08-31
399 | Ashcroft Module | Ashcroft | GQS-2 | MC Lab | LW-PM068 | 58311 | 2020-01-23 | 2021-01-22
400 | Ashcroft Calibrator | Ashcroft | MC6 | MC Lab | LW-MFC019 | 49357 | 2019-12-18 | 2020-12-17
401 | Master Gauge | Robertshaw | Robertshaw | Wolcott | MW-PI18 | 160-6 | 2017-09-19 | 2018-09-19
403 | Ashcroft Module | Ashcroft | GQS-2 | R54 | MW-PM093 | 57365 | 2020-02-05 | 2021-02-04
404 | Ashcroft Module | Ashcroft | AQS-2 | R54 | MW-PM094 | 58837 | 2020-02-13 | 2021-02-12
405 | Ashcroft Module | Ashcroft | AQS-2 | R54 | MW-PM095 | 58851 | 2020-01-23 | 2021-01-22
411 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, 5IN, GAS: Air | Grandview | MW-FM08 | 105683 | 2019-08-12 | 2020-08-11
412 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, 5IN, GAS: N2 | Grandview | MW-FM09 | 94986 | 2019-08-12 | 2020-02-10
414 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC020 | 2657 | 2019-12-18 | 2020-12-17
416 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06% F.S.) | R64 | MW-PM097 | 59934 | 2020-02-04 | 2021-02-03
417 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07% F. S.) | R64 | MW-PM098 | 27817 | 2020-02-04 | 2021-02-03
418 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07% F. S.) | R64 | MW-PM099 | 39564 | 2020-02-04 | 2021-02-03
419 | Ashcroft Calibrator | Ashcroft | MC2 | R64 | MW-MFC047 | 15061 | 2020-03-03 | 2021-03-03
420 | Ashcroft Calibrator | Ashcroft | MC2 | R64 | MW-MFC048 | 15063 | 2020-02-03 | 2021-02-02
422 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06% F.S.) | R64 | MW-PM100 | 59897 | 2020-02-04 | 2021-02-03
423 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06% F.S.) | R64 | MW-PM101 | 39243 | 2020-03-03 | 2021-03-03
425 | Dresser Module | Ashcroft | GQS-1 (+/- 0.1% F.S.) | R64 | MW-PM103 | 29703 | 2020-02-04 | 2021-02-03
426 | Ashcroft Calibrator | Ashcroft | MC6 | R64 | MW-MFC050 | 49866 | 2020-02-03 | 2021-02-02
430 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI20 | 30-30-1 | 2017-09-20 | 2018-09-20
431 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP02 | 2490103 | 2019-01-07 | 2019-04-08
434 | Digital Multimeter | Agilent | 34450A | R64 | MW-DMM04 | MY56240886 | 2016-10-05 | 2017-09-06
435 | Advantech DAQ | Advantech | USB-4716 | R64 | MW-DAQ02 | IAA9273160 | 2016-11-14 | 2017-11-14
436 | Digital Multimeter | Agilent | 34450A | Wolcott | MW-DMM05 | MY54300129 | 2016-10-06 | 2017-10-06
440 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP03 | 16390604 | 2019-08-05 | 2020-02-03
441 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07% F.S.) | MC Lab | LW-PM070 | 5798 | 2020-02-06 | 2021-02-05
443 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.1% F.S.) | MC Lab | LW-PM072 | 7795 | 2020-02-06 | 2021-02-05
445 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05% F.S.) | MC Lab | LW-PM074 | 57876 | 2020-02-06 | 2021-02-05
446 | Cole Palmer Module | Ashcroft | GQS-1 (+/- 0.05%) | R54 | MW-PM104 | 37716 | 2020-02-14 | 2021-02-13
450 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | South Bend Warehouse | MW-PM106 | 60021 | 2020-02-27 | 2021-02-26
451 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | South Bend Warehouse | MW-PM107 | 60081 | 2020-02-26 | 2021-02-25
453 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | South Bend Warehouse | MW-PM109 | 60085 | 2020-03-02 | 2021-03-02
454 | Ashcroft Calibrator | Ashcroft | MC6 | South Bend Warehouse | MW-MFC054 | 49430 | 2020-02-18 | 2021-02-17
462 | Temperature Meter | Omega | HX97-A | MC Warehouse | LW-FB10-DTI01 | 1607001 | 2016-10-14 | 2017-07-26
463 | Humidity Meter | Omega | HX97-A | MC Warehouse | LW-FB10-DHI01 | 1607001 | 2016-10-14 | 2017-07-26
464 | Barometric Pressure Meter | Omega | PX02K1-16A5T | MC Warehouse | LW-FB10-DPI04 | 1607001 | 2016-10-14 | 2017-07-26
465 | Differntial Pressure Meter | Omega | PX657-05DI | MC Warehouse | LW-FB10-DPI05 | I16070150 | 2016-10-14 | 2017-02-16
466 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM110 | 57308 | 2020-02-13 | 2021-02-12
467 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.025%) | R54 | MW-PM111 | 62177 | 2020-02-17 | 2021-02-16
468 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.025%) | R54 | MW-PM112 | 62188 | 2020-02-10 | 2021-02-09
473 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R54 | MW-PM117 | 60386 | 2020-02-13 | 2021-02-12
474 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | R64 | MW-PM118 | 60387 | 2020-03-03 | 2021-03-03
476 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05% F.S.) | MC Lab | LW-PM075 | 38044 | 2020-01-24 | 2021-01-23
478 | DGH, 4 - 20 mA DAQ | DGH | D1251 | R64 RHP | MW-DAQ04 | 431 | 2019-08-29 | 2020-08-28
479 | DGH, 4 - 20 mA DAQ | DGH | D1251 | R64 RHP | MW-DAQ05 | 509 | 2020-08-17 | 2021-02-15
480 | DGH, +/- 10 V DAQ | DGH | D1141 | R64 RHP | MW-DAQ06 | 0810 (M08077) | 2020-03-16 | 2021-03-16
482 | Heise Pressure Meter | Heise | PM | MC Lab | LW-DPI06 | 40031 | 2017-01-11 | 2018-01-11
483 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ19 | 95119 | 2020-01-24 | 2021-01-23
494 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R64 | MW-PM130 | 62168 | 2020-03-03 | 2021-03-03
496 | Ashcroft Calibrator | Ashcroft | MC6 | R64 | MW-MFC055 | 49944 | 2020-03-03 | 2021-03-03
497 | Ashcroft Calibrator | Ashcroft | MC6 | R64 | MW-MFC056 | 49799 | 2020-02-28 | 2021-02-27
498 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R64 | MW-PM132 | 62170 | 2020-02-04 | 2021-02-03
499 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R64 | MW-PM133 | 62271 | 2020-03-03 | 2021-03-03
500 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R64 | MW-PM134 | 30024 | 2020-03-03 | 2021-03-03
501 | Ashcroft Calibrator | Ashcroft | MC6 | R64 | MW-MFC057 | 49867 | 2020-02-28 | 2021-02-27
502 | Humidity & Temperature Meter | Vaisala | HMT333 | R64 | MW-HMT12 | K3020117 | 2020-03-06 | 2021-03-06
503 | Measurement Computing DAQ | Engineering Lab Design | USB-1616HS | Manufacturing Wind Tunnel | MW-FB01-DAQ07 | 365739 | 2018-06-05 | 2019-06-05
504 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ20 | 88983 | 2020-01-24 | 2021-01-23
505 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP04 | 4170370 | 2019-09-03 | 2019-12-03
506 | Pace Pressure Module | GE/Druck | CM2-05G | R54 | MW-PCM05 | 4195242 | 2017-04-03 | 2018-04-03
510 | DGH, +/- 10V DAQ | DGH | D1141 | R64 RHP | MW-DAQ08 | 1644 | 2020-03-16 | 2020-09-14
511 | DGH, +/- 10V DAQ | DGH | D1141 | R64 RHP | MW-DAQ09 | 1644A | 2016-11-09 | 2017-11-09
512 | Digital Multimeter | Keysight | 34450A | P01 Pilot Line | MW-DMM06 | MY56401307 | 2020-02-20 | 2021-02-19
513 | Digital Multimeter | Keysight | 34450A | P01 Pilot Line | MW-DMM07 | MY56160343 | 2020-02-20 | 2021-02-19
514 | Pace Pressure Module | GE/Druck | CM2-008G | R54 | MW-PCM07 | 3556699 | 2017-03-07 | 2018-03-07
515 | Mensor | Mensor | 15000 | MC Lab | LW-DPI07 | 240807 | 2020-09-09 | 2021-03-10
516 | Digital Multimeter | Agilent | 34401A | R54 | MW-DMM08 | MY44005682 | 2016-11-16 | 2017-11-16
517 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M, LIN, GAS: N2 | Grandview | MW-FM10 | 48742 | 2020-08-25 | 2021-02-23
522 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.1% F.S.) | MC Lab | LW-PM078 | 10666 | 2020-02-17 | 2021-02-16
529 | Fluke Documenting Process Calibrator | Fluke | 741B | R54 | MW-MFC061 | 8076012 | 2019-02-07 | 2020-02-07
532 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06% F.S.) | MC Lab | LW-PM081 | 27820 | 2019-12-18 | 2020-12-17
537 | Torque Wrench | CDI | 2502MRMH | MC Lab | LW-TW01 | 916805698 | 2020-07-27 | 2021-01-25
538 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM137 | 60934 | 2020-02-18 | 2021-02-17
539 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.05%) | R54 | MW-PM138 | 62808-1 | 2020-02-14 | 2021-02-13
544 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM143 | 61965 | 2020-02-18 | 2021-02-17
545 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM144 | 60932 | 2020-02-06 | 2021-02-05
546 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.025%) | R54 | MW-PM145 | 58849 | 2020-02-18 | 2021-02-17
550 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | R54 | MW-PM149 | 60007 | 2020-02-18 | 2021-02-17
551 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R54 | MW-PM150 | 60005 | 2020-02-18 | 2021-02-17
552 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R54 | MW-PM151 | 57513 | 2020-02-18 | 2021-02-17
553 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R54 | MW-PM152 | 58650 | 2020-02-18 | 2021-02-17
554 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R64 | MW-PM153 | 56558 | 2020-02-17 | 2021-02-16
555 | Ashcroft Calibrator | Ashcroft | MC6 | MC Lab | LW-MFC024 | 49514 | 2020-08-04 | 2021-02-02
558 | Digital Multimeter | Agilent | 34450A | MC Lab | LS-DMM08 | MY54170010 | 2020-09-02 | 2021-03-03
563 | Carbon Dioxide Probe | Vaisala | GMP343 | MC Lab | LR-COT01 | M4640007 | 2020-03-20 | 2020-06-19
578 | Ashcroft Module | Ashcroft | AQS-1 (+/- 0.06%) | R64 | MW-PM168 | 60468 | 2020-02-04 | 2021-02-03
594 | Torque Wrench | Proto | 6016 | MC Lab | LW-TW02 | 6004 PB | 2019-08-14 | 2020-08-13
596 | V-Cone Differential Pressure Flowmeter | McCrometer | VB08QE01N-N | SAH Lab | LW-FB01-FM05 | 16-2058 | 2016-12-21 | 2017-11-15
597 | Pace Pressure Module | GE/Druck | CM0-18G | R64 490A HKIT | MW-PCM08 | 10584968 | 2017-01-04 | 2017-12-14
601 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | MC Lab | LW-PM090 | 5809 | 2020-03-09 | 2021-03-09
602 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.1%) | MC Lab | LW-PM091 | 10668 | 2020-03-12 | 2021-03-12
603 | Micro-Torque Screwdriver | Mountz | QSN600FH | MC Lab | LW-TSD01 | 6CJ011087 | 2017-01-11 | 2018-01-11
604 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ24 | US37029531 | 2019-08-27 | 2020-02-25
605 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ25 | US37006262 | 2017-01-06 | 2018-01-06
607 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC068 | 51151 | 2020-02-14 | 2021-02-13
613 | Digital Multimeter | HP | 34401A | MC Lab | LS-DMM05 | US36041370 | 2019-11-14 | 2020-02-13
627 | General Eastern Dew Point Monitor | General Eastern | Hygro M4 | MC Lab | LR-DPM01 | 2390596 | 2019-09-20 | 2020-09-19
629 | General Eastern RTD | General Eastern |  | MC Lab | LR-DPM01-RTD04 | 2390596 | 2019-09-20 | 2020-09-19
630 | General Eastern Chilled Mirror | General Eastern | D-2-SR | MC Lab | LR-DPM01-CM01 | 2390596 | 2019-09-20 | 2020-09-19
631 | General Eastern Pressure Module | General Eastern | SST-1 | MC Lab | LR-DPM01-PCM01 | 2390596 | 2019-09-20 | 2020-09-19
632 | Emerson/Rosemont Pressure Transmitter | Emerson/Rosemont | 3051SMV5M11A3R2E11A1AC12B4M5Q4 | Sonic Nozzle System | LW-FB14-FC03 | 500463 | 2019-05-16 | 2020-05-15
634 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI01 | 60-16 | 2019-01-18 | 2020-01-18
637 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI25 | 600-05 | 2020-03-06 | 2021-03-06
638 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB09-FM06 | PBD-J1110024 | 2019-03-27 | 2020-03-26
639 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM176 | 57259 | 2020-02-18 | 2021-02-17
640 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM177 | 8461 | 2020-02-18 | 2021-02-17
644 | Torque Wrench | Armstrong | 64-042 | MC Lab | LW-TW03 | 4050244955 | 2020-07-06 | 2021-01-04
651 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.05%) | R54 | MW-PM180 | 62814-1 | 2020-02-27 | 2021-02-26
652 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.05%) | R54 | MW-PM181 | 62852 | 2020-02-24 | 2021-02-23
653 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | R54 | MW-PM182 | 29304 | 2019-01-31 | 2020-01-31
656 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM185 | 57449 | 2020-03-12 | 2021-03-12
665 | Digital Multimeter | Agilent | 34401A | CE Test Station | LS-DMM12 | 3146A24524 | 2019-12-03 | 2020-03-03
668 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI26 | 60-7 | 2018-02-28 | 2019-02-28
670 | Anemometer | E+E Elektronik | EE75-VTC635K200D06/BN-V12-T02 | MC Flow Lab | LW-FB02-ANM03 | 164702000013 | 2020-02-14 | 2020-08-14
680 | Alicat Scientific Flowmeter | Alicat Scientific | MC-2SLPM-D/5M, LIN, 5IN, GAS: Air | Grandview | MW-FM14 | 83809 | 2019-01-24 | 2019-07-25
681 | Alicat Scientific Flowmeter | Alicat Scientific | MC-2SLPM-D/5M, LIN, 5IN, GAS: Air | Grandview | MW-FM15 | 83810 | 2019-01-24 | 2019-07-25
682 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | Grandview | MW-FM16 | 7ME611 118012U253 | 2017-03-29 | 2019-03-29
685 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.025%) | R54 | MW-PM193 | 62697 | 2020-03-06 | 2021-03-06
687 | Orifice Plate | Sensing Precision | 101.6MM | Sensing Precision Wind Tunnel | MW-FB04-OP10 |  | 2020-02-10 | 2021-02-09
688 | Orifice Plate | Sensing Precision | 164.0MM | Sensing Precision Wind Tunnel | MW-FB04-OP12 |  | 2020-02-10 | 2021-02-09
692 | Ashcroft Calibrator | Ashcroft | MC6 | Wakarusa | MW-MFC071 | 49037 | 2017-03-21 | 2018-03-15
693 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | Wakarusa | MW-PM194 | 64367 | 2017-03-28 | 2018-03-01
694 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | Wakarusa | MW-PM195 | 64368 | 2017-03-21 | 2018-03-15
695 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | Wakarusa | MW-PM196 | 64369 | 2017-03-21 | 2018-03-01
696 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | Wakarusa | MW-PM197 | 64370 | 2017-03-21 | 2018-03-13
697 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | Wakarusa | MW-PM198 | 64371 | 2017-03-15 | 2018-03-15
698 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, LIN, 5IN, GAS: N2 | Grandview | MW-FM17 | 59190 | 2018-11-21 | 2019-11-21
699 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, LIN, 5IN, GAS: N2 | Grandview | MW-FM18 | 59191 | 2018-11-28 | 2019-05-29
700 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC072 | 49038 | 2020-10-07 | 2021-01-06
706 | NICE Flowmeter | NICE | 1000-075-040-2-1-1-3-2-1 | Grandview | MW-FM19 | 0714973986E | 2017-04-05 | 2018-04-04
708 | Temperature Transmitter | Dwyer | TTE-104-W-LCD | P01 Flow Lab | LW-FB11-TT04 | M08258 | 2018-11-28 | 2019-11-28
712 | Digital Multimeter | Keysight | 34450A | R64 RHP | MW-DMM10 | MY57011928 | 2020-02-29 | 2021-02-28
721 | Digital Multimeter | Keysight | 34450A | R64 616KD-LR Line | MW-DMM12 | MY57092240 | 2020-02-05 | 2021-02-04
723 | AVO Dielectric Strength Tester | AVO | Megger Hi-Pot MHP1 | MC Lab | LW-DST01 | 6111-325 | 2017-05-15 | 2018-05-15
724 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R54 | MW-PM204 | 62720 | 2020-03-12 | 2021-03-12
728 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | P01 Pilot Line | MW-FB03-PM208 | 63266 | 2020-01-30 | 2021-01-29
729 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | P01 Pilot Line | MW-FB03-PM209 | 60970 | 2020-01-30 | 2021-01-29
730 | Carbon Dioxide Probe | Vaisala | GMP343 | P01 Pilot Line | MR-COT01 | N1910006 | 2019-10-16 | 2020-10-15
737 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC15 | MY51200290 | 2020-01-21 | 2020-07-21
738 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC14 | MY51201233 | 2020-01-21 | 2020-07-21
739 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC16 | MY51200064 | 2020-01-21 | 2020-07-21
740 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC17 | MY51201251 | 2020-03-17 | 2021-03-17
741 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ28 | US37030627 | 2020-01-21 | 2020-07-21
742 | Digital Multimeter | Keysight | 34450A | P01 Production Line | MW-DMM14 | MY56401354 | 2019-06-24 | 2020-06-23
744 | Digital Multimeter | Keysight | 34450A | Manufacturing Engineering | MW-DMM16 | MY55160082 | 2019-12-03 | 2020-12-02
748 | Portable low-pressure controller | Mensor | CPC2000 | MFG ENG | MW-PC01 | 7192417 | 2017-07-10 | 2018-06-23
749 | Portable low-pressure controller | Mensor | CPC2000 | R64 616KD | MW-PC02 | 7212417 | 2017-09-19 | 2018-09-19
750 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM17 | DM3R191700642 | 2017-07-12 | 2018-07-12
751 | Oscilloscope | Tektronix | TDS744A | MC Lab | LW-OS01 | B011961 | 2019-11-18 | 2020-11-17
752 | Vaisala Humidity, Temperature and Barometric Pressure Transmitter | Vaisala | PTU-303 | Manufacturing Engineering AVUL | MW-HTP06 | N2610341 | 2020-10-29 | 2021-01-28
755 | Carbon Dioxide Analyzer | PP Systems | WMA-5 | Manufacturing Engineering | MW-COA01 | WMA0068 | 2017-08-01 | 2018-08-01
756 | Vaisala Humidity & Temperature Meter | Vaisala | HMT333 | MC Lab | LW-HMT08 | K1440119 | 2020-02-19 | 2021-02-18
759 | Digital Multimeter | HP | 34401A | MC Lab | LW-DMM09 | US36070897 | 2017-08-17 | 2018-08-17
760 | Attenuator | 3ctest | TFB 500(SHV) | MC Lab | LW-ATN01 | EC9541708 | 2019-10-04 | 2020-10-03
761 | Attenuator | 3ctest | TFB 1000(SHV) | MC Lab | LW-ATN02 | EC9691706 | 2019-10-04 | 2020-10-03
762 | High Voltage Differential Probe | Rigol | RP1050D | MC Lab | LW-HVDP01 | 20160369 | 2018-10-19 | 2019-10-19
763 | Pulse Current Transformer | Pearson Electronics | 110 | MC Lab | LW-PCT01 | 23572 | 2019-09-20 | 2020-09-19
764 | Ashcroft Calibrator | Ashcroft | ATE2-HHC | R54 | MW-MFC079 | 20853 | 2020-03-11 | 2021-03-11
765 | Portable low-pressure controller | Mensor | CPC2000 | MFG ENG | MW-PC03 | 7383017 | 2017-08-15 | 2018-02-08
768 | Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA020CA1M4D1 | P01 Large Flow Loop | MW-FM42 | 14661299 | 2019-11-05 | 2020-05-21
778 | Temperature & Humidity Transmitter | Dwyer | RHP-2D11 | R64 | MW-HMT21 | M08549 | 2018-10-03 | 2019-10-03
779 | Differential Pressure Transmitter | Dwyer | MS2-D102 | R64 | MW-PT05 | 013RXP | 2018-08-31 | 2019-08-31
780 | Differential Pressure Transmitter | Dwyer | MS2-W102 | R64 | MW-PT06 | 0135VG | 2018-08-31 | 2019-08-31
781 | Digital Differential Pressure Transmitter | Dwyer | MS2-N102 | R64 | MW-PT07 | 013S5Y | 2018-08-30 | 2019-08-30
782 | Differential Pressure Indicating Transmitter | Dwyer | 605-0 | R64 | MW-PT08 | 00GSUB | 2018-08-31 | 2019-08-31
783 | Pressure Controller | Dwyer | DH-004 | R64 | MW-PC04 | 00PX1Y | 2018-08-31 | 2019-08-31
784 | Digital Manometer | Dwyer | 478A-1 | R64 | MW-DPI04 | M08529 | 2018-08-31 | 2019-08-31
785 | Digital Manometer | Dwyer | 476A-0 | R64 | MW-DPI05 | M08528 | 2018-08-31 | 2019-08-31
786 | Temperature & Humidity Transmitter | Dwyer | RHP-2O11 | R64 | MW-HMT22 | M08548 | 2018-10-03 | 2019-10-03
787 | Temperature & Humidity Transmitter | Dwyer | RHP-2N40 | R64 | MW-HMT23 | M08540 | 2018-10-03 | 2019-10-03
788 | Temperature & Humidity Transmitter | Dwyer | RHP-2N44 | R64 | MW-HMT24 | M08539 | 2018-10-03 | 2019-10-03
789 | Pressure Controller | Dwyer | DH3-011 | R64 | MW-PC05 | 00K4EM | 2018-08-31 | 2019-08-31
790 | Dust Controller Timer | Dwyer | DCT510 | R64 | MW-DCT01 | 014Q2Q | 2018-08-31 | 2019-08-31
791 | Dust Controller Timer | Dwyer | DCT510 | R64 | MW-DCT02 | 014Q2N | 2018-08-31 | 2019-08-31
792 | Dust Controller Timer | Dwyer | DCT632 | R64 | MW-DCT03 | 014Q31 | 2018-08-31 | 2019-08-31
793 | Dust Controller Timer | Dwyer | DCT1022 | R64 | MW-DCT04 | 014Q2C | 2018-08-31 | 2019-08-31
794 | Dust Controller Timer | Dwyer | DCT1022 | R64 | MW-DCT05 | 014Q2V | 2018-08-31 | 2019-08-31
795 | Small Loop Water Flow Bench | Dwyer |  | P01 Pilot Line | LW-FB12 |  | 2017-09-13 | 2018-09-13
797 | Digital Multimeter | Keysight | 34450A | R64 616KD-LR Line | MW-DMM19 | MY54510222 | 2020-09-01 | 2021-03-02
798 | Digital Multimeter | Agilent | 34401A | R64 RHP | MW-DMM20 | MY41042165 | 2017-09-28 | 2018-03-29
802 | Digital Multimeter | Keysight | 34450A | MFG ENG | MW-DMM21 | MY56441535 | 2019-10-24 | 2020-10-23
806 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM214 | 57875 | 2020-02-10 | 2021-02-09
807 | Digital Multimeter | Agilent | 34401A | P01 Pilot Line | MW-DMM22 | MY47067689 | 2020-03-31 | 2020-09-29
809 | Portable low-pressure controller | Mensor | CPC2000 | R64 | MW-PC06 | 7513817 | 2017-10-10 | 2018-09-01
822 | Rosemount 8732 Magnetic Flowmeter | Emerson/Rosemount | 8732EMT1A1N5M4D1 | P01 Pilot Line | MW-FM45 | 4200796 | 2019-11-06 | 2019-05-19
823 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG6000 | P01 Pilot Line | MW-FM46 | 7ME658 175301U194 | 2019-11-06 | 2019-10-09
826 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM23 | DM3R192000814 | 2019-02-21 | 2020-02-21
827 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM24 | DM3R191700641 | 2019-02-21 | 2020-02-21
833 | Ashcroft Calibrator | Ashcroft | MC6 | MFG ENG | MW-MFC084 | 49068 | 2019-07-23 | 2020-07-22
834 | Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA040CA1M4D1 | P01 Pilot Line | MW-FM48 | 14742482 | 2020-05-07 | 2020-11-05
836 | Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA080CA1M4D1 | P01 Flow Lab | MW-FM49 | 14742569 | 2019-11-05 | 2020-11-04
837 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM25 | DM3R191700646 | 2017-12-11 | 2018-12-11
839 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM26 | DM3R192000829 | 2019-02-18 | 2020-02-18
841 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ29 | 89555 | 2020-02-18 | 2021-02-17
845 | Ashcroft Module | Ashcroft | AM2-2 (+/- 0.05%) | Manufacturing Engineering | MW-PM221 | A1117 | 2019-04-30 | 2020-04-29
846 | Ashcroft Module | Ashcroft | AM2-2 (+/- 0.05%) | Manufacturing Engineering | MW-PM222 | A1133 | 2019-04-30 | 2020-04-29
849 | Flowhood | Shortridge | CFM-88L Series 8400 | P01 Pilot Line | MW-FB04-FH01 | M14522 | 2018-02-07 | 2019-02-07
863 | Flowhood | TSI/Alnor | EBT731 | P01 Pilot Line | MW-FB04-FH02 | EBT731635015 | 2018-01-24 | 2019-01-24
864 | Absolute Pressure Gauge | Wallace & Tiernan | FA129 | MC Flow Lab | LW-FB04-PI02 | EE14290 | 2018-01-17 | 2019-01-17
865 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ31 | 88974 | 2020-02-18 | 2021-02-17
872 | Sentinel Precision Leak Test Standard | Cincinnati Test Systems | 520-7.00 scc/m-150.00 psig-24 | Blaze Technical Services | MR-LRT01-LRS01 | LS103848 | 2018-01-24 | 2019-01-05
873 | Sentinel Precision Leak Test Standard | Cincinnati Test Systems | 520-7.00 scc/m-150.00 psig-24 | Blaze Technical Services | MR-LRT01-LRS02 | LS104050 | 2019-02-13 | 2020-02-13
874 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | P01 Flow Lab | MW-APLC01 | P2-8AD4DA-1+17116F039D | 2019-05-17 | 2020-05-16
878 | MC DAQ | Measurement Computing | USB-2416-4AO | MC Lab | LW-DAQ32 | 106572 | 2020-08-17 | 2021-02-15
880 | Flowhood | Testo | 420 | P01 Pilot Line | MW-FB04-FH03 | 50600736/507 | 2018-02-08 | 2019-02-08
881 | Stopwatch | Control Company | 94460-55 | MC Flow Lab | LW-SW02 | 18007362 | 2020-01-20 | 2020-01-30
890 | Orifice Plate | Unknown | 32.5MM | Sensing Precision Wind Tunnel | MW-FB04-OP07 |  | 2020-02-10 | 2021-02-09
892 | Orifice Plate | Unknown | 150.0MM | Sensing Precision Wind Tunnel | MW-FB04-OP11 |  | 2020-02-10 | 2021-02-09
893 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI07 | M08786 | 2020-02-24 | 2021-02-23
896 | CO2 Transmitter | Dwyer | CDT-2N40 | P01 Production Line | MW-COT01 | 01CP04 | 2018-03-07 | 2019-03-06
897 | CO2 Transmitter | Dwyer | CDT-2D40 | P01 Production Line | MW-COT02 | 01CPKX | 2018-03-07 | 2019-03-06
898 | Pace Measurement/Control Module | GE/Druck | CM2-16G | R54 | MW-PCM17 | 10810125 | 2018-05-04 | 2019-05-04
904 | Accelerometer | PCB Piezotronics | 353B15 | MC Lab | LW-DT01-ACLM03 | LW214739 | 2020-02-13 | 2021-02-12
905 | Signal Conditioner | IMI Sensors | 682A02 | MC Lab | LW-DT01-SC01 | 46092 | 2020-02-14 | 2021-02-13
910 | High Frequency Pressure Sensor | PCB Piezotronics | 113B23 | MC Lab | LW-DT01-HFPS01 | 36416 | 2019-06-19 | 2020-06-18
911 | Ashcroft Module | Ashcroft | AQS-1 (+/- 0.06%) | R54 | MW-PM234 | 64491 | 2020-03-12 | 2021-03-12
912 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | R54 | MW-PM235 | 64220 | 2020-03-12 | 2021-03-12
914 | Shock Sensor | PCB Piezotronics | 350C03 | MC Lab | LW-DT01-SS01 | 60057 | 2020-02-13 | 2021-02-12
940 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R54 | MW-PM261 | 57353 | 2020-03-06 | 2021-03-06
950 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI09 | QW-5200-F | 2018-05-01 | 2019-05-01
952 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI11 | QW-5207-J | 2020-02-24 | 2021-02-23
953 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI12 | QW-5201-E | 2020-02-24 | 2021-02-23
954 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI13 | No QW # | 2018-05-02 | 2019-05-02
955 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI14 | QW-5204-E | 2020-02-24 | 2021-02-23
956 | Temperature Transmitter | Dwyer | TTE-104-W-LCD | P01 Pilot Line | MW-TT03 | M08866 | 2019-11-15 | 2020-11-14
960 | Monthly Maintenance, Large Flow Loop | Dwyer | N/A | P01 Large Flow Loop | LW-FB11 |  | 2019-02-01 | 2019-03-03
975 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.05%) | R54 | MW-PM282 | 64473 | 2020-02-18 | 2021-02-17
982 | Ashcroft Calibrator | Ashcroft | MC6 | 629HLP | MW-MFC089 | 49316 | 2020-02-12 | 2020-08-12
985 | Portable low-pressure controller | Mensor | CPC2000 | MC Lab | MW-PC08 | 8221518 | 2019-06-11 | 2019-12-10
986 | Weekly Maintenance, Large Flow Loop | Dwyer | N/A | P01 Large Flow Loop | LW-FB11 |  | 2019-04-05 | 2019-04-12
988 | Pace Measurement/Control Module | GE/Druck | CM2-13G | 17052 Accredited Lab | LW-PCM18 | 3520013 | 2020-08-11 | 2013-02-08
992 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | 629HLP | MW-PM290 | 57251 | 2019-10-31 | 2020-10-30
999 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | Manufacturing Engineering | MW-PM292 | 61508 | 2019-09-18 | 2020-09-17
1006 | Medium Flow Loop, Weekly Maintence | Dwyer | N/A | P01 Medium Flow Loop | LW-FB13 |  | 2019-04-05 | 2019-04-12
1007 | Monthly Maintenance, Medium Flow Loop | Dwyer | N/A | P01 Medium Flow Loop | LW-FB13 |  | 2019-02-06 | 2020-02-06
1011 | Pace Pressure Module | GE/Druck | CM2-13G | MC Lab | LW-PCM12 | 3942635 | 2020-01-16 | 2021-01-15
1013 | Ashcroft Calibrator | Ashcroft | MC-2 | Wakarusa | MW-MFC093 | 6076 | 2018-09-27 | 2019-09-27
1016 | Ashcroft Calibrator | Ashcroft | MC6 | 629HLP | MW-MFC095 | 49720 | 2020-02-12 | 2020-08-12
1017 | Pace Measurement/Control Module | GE/Druck | CM2-16G | P01 Pilot Line | MW-PCM26 | 4216772 | 2018-10-10 | 2019-05-12
1018 | High Pressure Air Compressor | Coltri Americas | 8019.2 | MC Lab | LS-CMP01 | AOr-0380292 | 2019-02-04 | 2019-03-06
1023 | RTD Probe | Fluke | 5616-12 | MC Lab | LR-DTR01-RTD05 | 97118 | 2020-09-11 | 2021-03-12
1024 | Digital Multimeter | Agilent | 34401A | R64 | MW-DMM33 | MY44001806 | 2019-12-03 | 2020-12-02
1025 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC025 | 15888 | 2019-12-18 | 2020-12-17
1026 | Pace Pressure Module | GE/Druck | CM2-008G | MC Lab | LW-PCM13 | 4421808 | 2020-07-23 | 2021-03-04
1027 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M | Grandview | MW-FM37 | 100029 | 2018-11-26 | 2019-11-21
1033 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | MC Lab | LW-PM096 | 57255 | 2020-02-06 | 2021-02-05
1034 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC026 | 4196 | 2020-01-22 | 2021-01-21
1042 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.025%) | R54 | MW-PM321 | 60379 | 2020-02-06 | 2021-02-05
1043 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | R54 ASIC | MW-PM317 | 37976 | 2020-02-03 | 2021-02-02
1044 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.025%) | MC Lab | LW-PM106 | 62174 | 2020-02-18 | 2021-02-17
1048 | Pace Pressure Control/Measurement Module | GE/Druck | CM2-02G | MC Lab | LW-PCM15 | 4290725 | 2020-04-29 | 2020-10-28
1052 | High Range Piston-Cylinder | Fluke | 2465-729 | MC Lab | LR-GPG01-PSC01 | V1765 | 2019-04-30 | 2020-04-29
1056 | Fluke PRT | Fluke | 2455-11-006 | MC Lab | LR-GPG01-RTD6 | 73619 | 2019-08-21 | 2020-02-19
1057 | Weekly Maintenance, Small Flow Loop | Dwyer | N/A | P01 Small Flow Loop | LW-FB12 |  | 2019-11-05 | 2019-11-12
1058 | Monthly Maintenance, Small Flow Loop | Dwyer | N/A | P01 Small Flow Loop | LW-FB12 |  | 2019-01-05 | 2019-02-03
1060 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | P01 Flow Lab | MW-APLC04 | P2-8AD4DA-1+18724F048D | 2019-01-11 | 2020-01-11
1065 | AEMC Instruments DAQ | AEMC Instruments | L452 | MC Lab | LW-DAQ34 | 143411 QMH | 2019-01-23 | 2020-01-23
1066 | AEMC Instruments DAQ | AEMC Instruments | L452 | MC Lab | LW-DAQ35 | 143378 QMH | 2019-01-23 | 2020-01-23
1068 | Digital Multimeter | Keysight | 34450A | MSX (E) | MW-DMM34 | MY58490123 | 2020-02-06 | 2021-02-05
1070 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC101 | 49142 | 2020-02-03 | 2021-02-02
1074 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | MC Lab | LW-FM16 | 53377 | 2019-01-30 | 2021-01-29
1075 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | MC Lab | LW-FM17 | 53376 | 2019-02-05 | 2021-01-28
1076 | Measurement Computing DAQ | Measurement Computing | USB-1408FS | CMT200/CMF300 | MW-DAQ13 | 1D4ED2D | 2019-10-11 | 2020-10-10
1078 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC103 | 49120 | 2020-12-04 | 2021-03-05
1079 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC104 | 49920 | 2020-02-18 | 2021-02-17
1080 | Measurement Computing DAQ | Measurement Computing | USB-1408FS | CMT200/CMF300 | MW-DAQ14 | 1779A3B | 2019-03-12 | 2020-03-11
1082 | Digital Pressure Gauge | Dwyer | DPG-106 | Blaze Technical Services | MW-LRT01-DPI19 | IP68821C15AD-2 | 2019-02-26 | 2020-02-20
1083 | Digital Pressure Gauge | Dwyer | DPG-106 | Blaze Technical Services | MW-LRT01-DPI20 | IP64765C02AD-9 | 2019-02-26 | 2019-04-25
1087 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC105 | 49345 | 2020-03-06 | 2021-03-06
1088 | Ashcroft Module | Ashcroft | GQS-2 (+/- 0.05%) | MC Lab | LW-PM107 | 57253 | 2020-02-27 | 2021-02-26
1097 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.025%) | MC Lab | LW-PM115 | 62178 | 2020-03-09 | 2021-03-09
1099 | Fluke Multifunction Calbrator | Fluke | 7526A | MC Lab | LW-MFC027 | 4491424 | 2019-10-27 | 2020-10-26
1100 | Sentinel Precision Leak Test Standard | Cincinnati Test Systems | 520-7.00 scc/m-150.00 psig-24 | Blaze Technical Services | MR-LRT01-LRS03 | LS112846 | 2019-03-18 | 2020-03-04
1101 | Agilent LCR Meter | Agilent | 4263B | MC Lab | LW-LCR01 | MY40112563 | 2019-04-17 | 2020-04-16
1110 | Torque Display | Advanced Witness Series, Inc. | AWS-3000 (+/- .5% of indicated reading, top 90% of full scale) | MC Lab | LW-TD01 | 20686-1 | 2020-08-18 | 2021-02-15
1121 | Torque Wrench | CDI | 751LDINSS | MC Lab | LW-TW07 | 119501547 | 2020-01-14 | 2021-01-13
1123 | Electro-Static Discharge Network | Teseq AG | INA 4380 | MC Lab | LW-ESDN01 | 437818 | 2019-04-11 | 2020-03-25
1124 | Ashcroft Calibrator | Ashcroft | MC6 | R64 | MW-MFC106 | 49076 | 2020-11-20 | 2021-02-19
1125 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.1%) | 629HLP | MW-PM316 | A1993 | 2020-02-14 | 2020-07-07
1140 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100/Sitrans F M Magflo MAG6000 | MC Flow Lab | LW-FB09-FM18 | PBD-L4114801 | 2020-11-25 | 2021-02-24
1144 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | R54 | MW-PM297 | A3349 | 2019-05-08 | 2020-04-30
1145 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC107 | 49130 | 2020-08-31 | 2021-03-03
1146 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC108 | 49131 | 2020-08-19 | 2021-02-17
1147 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC109 | 49121 | 2020-12-02 | 2021-03-03
1149 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | P01 Flow Lab | MW-APLC05 | P2-8AD4DA-1+18X10F051D | 2019-05-08 | 2020-04-30
1150 | Ashcroft Calibrator | Ashcroft | ATE-100 | R54 | MW-MFC111 | 15901 | 2019-05-09 | 2020-05-02
1151 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI21 | QW-5201-D | 2019-05-09 | 2020-05-06
1152 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI22 | QW-5204-D | 2019-05-15 | 2020-05-14
1153 | Reference Resistor | Wika | RR 100 | P01 Pilot Line | MR-RES01 | 044437-01 | 2019-05-10 | 2020-03-10
1154 | Reference Resistor | Wika | RR 1K | P01 Pilot Line | MR-RES02 | 43581-01 | 2019-05-10 | 2020-03-10
1155 | RTD | Rosemount | 214CRTSMB1S4E0020SLAR1C1B1TB | 0 - 250 cfm Flow Bench | LW-FB14-FC03-RTD04 | 44709 | 2019-05-16 | 2020-05-14
1162 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC113 | 49133 | 2020-08-25 | 2021-02-23
1164 | Low Temp. RTD | ESPEC | N/A | MC Lab | LW-TSC01-RTD01 |  | 2019-06-28 | 2020-03-31
1165 | High Temp. RTD | ESPEC | N/A | MC Lab | LW-TSC01-RTD02 |  | 2019-06-28 | 2020-03-31
1167 | Pace Measurement/Control Module | GE/Druck | CM2-14G | R54 | MW-PCM32 | 4288663 | 2019-07-09 | 2019-08-30
1168 | Pace Measurement/Control Module | GE/Druck | CM2-11G | R54 | MW-PCM33 | 3990759 | 2019-07-09 | 2018-09-03
1169 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | P01 Flow Lab | MW-APLC06 | P2-8AD4DA-1+19208F003D | 2019-08-29 | 2020-08-28
1171 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | MC Lab | MW-PM306 | A3584 | 2019-11-26 | 2020-07-09
1172 | Automation Direct Analog PLC Card | Automation Direct | P2-HSI | P01 AVLV | MW-APLC07 | P2-HSI+18306F140C | 2019-07-16 | 2020-06-09
1173 | DGH, 4 - 20 mA DAQ | DGH | D1251 | R64 RHP | MW-DAQ18 | 0431A | 2019-08-28 | 2020-08-27
1177 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | P01 AVPT Pilot Line | MW-PM300 | A3404 | 2019-07-22 | 2020-07-16
1178 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | P01 AVPT Pilot Line | MW-PM301 | A3600 | 2019-07-22 | 2020-07-16
1179 | Monthly Maintenance, Small Flow Loop | Dwyer | N/A | P01 Small Flow Loop | LW-FB12 | Filter Replacement | 2019-07-22 | 2020-01-20
1182 | KTX12-12-N English Measuring Tape | Starrett | GGG-T-106F | P01 AVLV | MW-TM01 | 19060177 | 2019-08-21 | 2020-08-20
1185 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP08 | M19240269 | 2019-08-21 | 2020-08-12
1186 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP09 | M19240270 | 2019-08-21 | 2020-08-12
1190 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | Manufacturing Engineering | MW-FM40 | 54464 | 2020-02-18 | 2021-02-17
1192 | Humidity & Temperature Meter | Vaisala | HMT333 | R54 | MW-HMT26 | R3530224 | 2019-09-11 | 2020-08-27
1193 | Humidity & Temperature Meter | Vaisala | HMT333 | R54 | MW-HMT27 | R3530225 | 2019-09-11 | 2020-08-27
1201 | Gauss/Tesla Meter | F.W. Bell | 5180 | MC Lab | LW-GSM01 | 1401049 | 2019-09-19 | 2020-09-18
1215 | Humidity & Temperature Meter | Vaisala | HMT333 | R54 | MW-HMT29 | R4231053 | 2019-10-22 | 2020-10-15
1216 | RTD Probe | Ashcroft | GRT | Flow Lab | LW-FB05-RTD06 | 4320A | 2019-11-14 | 2020-11-13
1217 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ36 | 1E62E9C | 2019-10-24 | 2020-10-23
1219 | MC DAQ | Measurement Computing | USB-1608G | P01 Production Line | MW-DAQ20 | 1B01EE2 | 2020-03-03 | 2021-03-03
1220 | MC DAQ | Measurement Computing | USB-1608G | P01 Production Line | MW-DAQ21 | 1B01EC3 | 2019-11-08 | 2020-11-07
1229 | 2" Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA020CA1M4D1 | P01 Pilot Line | MW-FM50 | 14941406 | 2019-11-06 | 2020-08-07
1230 | 2" Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA020CA1M4D1 | P01 Pilot Line | MW-FM51 | 14930831 | 2019-11-06 | 2020-06-26
1232 | 4" Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA040CA1M4D1 | P01 Pilot Line | MW-FM53 | 14940611 | 2019-11-06 | 2020-08-01
1238 | Digital Multimeter | Keysight | 34450A | MFG ENG | MW-DMM40 | MY59240127 | 2019-11-18 | 2020-06-20
1239 | Digital Multimeter | Keysight | 34450A | Grandview | MW-DMM41 | MY59320103 | 2019-11-19 | 2020-08-21
1240 | Ashcroft Calibrator | Ashcroft | MC6 | Grandview PSI/ATEX | MW-MFC120 | 49163 | 2019-11-19 | 2020-11-11
1241 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | Grandview PSI/ATEX | MW-PM302 | A3992 | 2019-11-12 | 2020-11-11
1242 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | Grandview PSI/ATEX | MW-PM303 | A3993 | 2019-11-19 | 2020-11-11
1243 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | Grandview PSI/ATEX | MW-PM304 | A3994 | 2019-11-12 | 2020-11-11
1244 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | Grandview PSI/ATEX | MW-PM305 | A3995 | 2019-11-19 | 2020-11-11
1245 | Digital Multimeter | Keysight | 34450A | Manufacturing Engineering | MW-DMM42 | MY57032052 | 2019-12-03 | 2020-12-02
1246 | Digital Multimeter | Keysight | 34450A | Manufacturing Engineering | MW-DMM43 | MY59310028 | 2019-08-23 | 2020-08-22
1247 | MC DAQ | Measurement Computing | USB-1608G | P01 Production Line | MW-DAQ22 | 1E7068F | 2019-11-25 | 2020-11-24
1248 | MC DAQ | Measurement Computing | USB-1608G | P01 Production Line | MW-DAQ23 | 1E7069C | 2019-11-25 | 2020-11-24
1252 | Digital Multimeter | Keysight | 34450A | Manufacturing Engineering | MW-DMM44 | MY58170050 | 2019-12-04 | 2020-05-13
1257 | Ashcroft Calibrator | Agilent | MC6 | MFG ENG | MW-MFC122 | 49174 | 2019-12-17 | 2020-12-09
1258 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | P01 AVPT Pilot Line | MW-PM309 | A4143 | 2019-12-17 | 2020-12-05
1259 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | P01 AVPT Pilot Line | MW-PM310 | A4144 | 2019-12-17 | 2020-12-05
1260 | Agilent DAQ | Keysight | 34970A | MC Lab | LW-DAQ37 | MY4408940 | 2020-01-07 | 2021-01-06
1261 | Agilent DAQ Card | Keysight | 34901A | MC Lab | LW-DAQC19 | MY41199356 | 2020-01-07 | 2021-01-06
1262 | Agilent DAQ Card | Keysight | 34901A | MC Lab | LW-DAQC20 | MY41210866 | 2020-01-07 | 2021-01-06
1263 | DGH, 4 - 20 mA DAQ | DGH | D1251 | R64 RHP | MW-DAQ24 | 0930A | 2020-02-03 | 2020-08-03
1265 | Omega DAQ | Measurement Computing | OM-USB-1608G | Grandview | MW-DAQ25 | 190D935 | 2020-02-17 | 2021-02-16
1266 | Omega DAQ | Measurement Computing | OM-USB-1608G | Grandview | MW-DAQ26 | 1938190 | 2020-02-17 | 2021-02-16
1274 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | R54 ASIC | MW-PM314 | A4291 | 2020-02-13 | 2021-02-05
1276 | Ashcroft Calibrator | Ashcroft | MC6 | R54 ASIC | MW-MFC123 | 49178 | 2020-02-13 | 2021-02-05
1277 | Ashcroft Calibrator | Ashcroft | MC6 | R54 ASIC | MW-MFC124 | 49179 | 2020-02-13 | 2021-02-05
1278 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | Grandview Leak Rate Tester | MW-APLC09 | P2-8AD4DA-1+19920F070D1 | 2020-03-09 | 2021-03-09
1279 | Pressure Transmitter | Dwyer | 628-14-S1 | Grandview Leak Rate Tester | MW-PT11 | 02GF5V | 2020-02-19 | 2021-02-18
1280 | Digital Multimeter | HP | 34401A | MC Lab | LW-DMM13 | US36084501 | 2020-03-11 | 2021-03-11
1282 | Ashcroft Calibrator | Ashcroft | MC6 | R64 | MW-MFC126 | 49184 | 2020-02-25 | 2021-02-18
1283 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | MFG ENG | MW-APLC10 Limited Calibraton | P2-8AD4DA-1+19920F019D1 | 2020-03-17 | 2021-03-17
1286 | Keysight LCR Meter | Keysight | E4980AL | MC Lab | LW-LCR02 | MY54409057 | 2020-03-03 | 2021-02-12
1287 | Digital Multimeter | Keysight | 34450A | R64 RHP | MW-DMM45 | MY59310035 | 2020-03-03 | 2021-02-25
1288 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB08-FM19 | PBD-M2074500 | 2020-03-05 | 2021-03-05
1289 | Carbon Dioxide Probe | Vaisala | GMP343 | MC Lab | LR-COT04 | S0920009 | 2020-03-09 | 2021-02-25
1291 | Digital Multimeter | Keysight | 34450A | R54 ASIC | MW-DMM46 | MY59490045 | 2020-03-18 | 2020-12-12
1292 | Mensor Chassis | Mensor | CPC 6050 | MSX (E) | MW-DPI28 | 41000ZVU | 2020-03-24 | 2021-01-14
1294 | Mensor Measurement/Control Module | Mensor | CPR 6050 | MSX (E) | MW-PCM48 | 41000W9W | 2020-03-24 | 2021-01-14
1295 | Mensor Measurement/Control Module | Mensor | CPR 6050 | MSX (E) | MW-PCM49 | 41000YIL | 2020-03-24 | 2021-01-14
1296 | Digital Multimeter | Keysight | 34450A | R54 ASIC | MW-DMM47 | MY60060048 | 2020-03-25 | 2021-02-10
1297 | Digital Multimeter | Keysight | 34450A | R54 ASIC | MW-DMM48 | MY60070070 | 2020-03-25 | 2021-02-24
1298 | Digital Multimeter | Keysight | 34450A | R54 ASIC | MW-DMM49 | MY60080048 | 2020-03-25 | 2021-02-27
1302 | Pace Measurement/Control Module | GE/Druck | CM1-16G | Manufacturing Engineering | MW-PCM52 | 4418083 | 2020-05-23 | 2020-05-26
1463 | Dielectric Strength Tester | Associated Research | Hypot II 7550DT | P01 Production Line | MW-DST03 | 9111099 | 2021-03-03 | 2021-02-13