## Sheet1
|  |  | Report Date | 2020-08-20
Item Number | Description | Manufacturer | Model Number | Location | Asset Number | Serial Number | Last Action Date | Due Date
13 | Emerson/Rosemont Pressure Transmitter | Emerson/Rosemont | 3051SMV5M11A3R2E11A1AC12B4Q4 | Balometer Lab | LW-FB01-FC01 | 478665 | 2016-02-19 | 2017-02-18
14 | Emerson/Rosemont RTD | Emerson/Rosemont | 68D11N00N040XA | Balometer Lab | LW-FB01-FC01-RTD01 | 1730229 | 2016-02-19 | 2017-02-18
32 | Ashcroft Module | Ashcroft | GQS-1 | R64 | MW-PM002 | 33757 | 2019-07-01 | 2020-06-30
33 | Ashcroft Calibrator | Ashcroft | MC6 | MC Lab | LW-MFC002 | 49314 | 2019-08-16 | 2020-08-15
34 | Orifice Plate | Unknown | 32.5MM | Sensing Precision Wind Tunnel | MW-FB04-OP01 |  | 2018-03-19 | 2019-03-19
45 | Ashcroft Module | Ashcroft | AQS-1 | MC Lab | LW-PM014 | 11569 | 2019-06-26 | 2020-06-25
50 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM018 | 7797 | 2019-06-26 | 2020-06-25
54 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC004 | 4207 | 2019-01-09 | 2018-04-13
55 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM022 | 15367 | 2019-06-26 | 2020-06-25
56 | Ashcroft Module | Ashcroft | GQS-2 | MC Lab | LW-PM023 | 38045 | 2019-08-16 | 2020-08-15
65 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ04 | 87752 | 2019-07-19 | 2020-01-17
68 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ07 | 87750 | 2019-06-06 | 2020-06-05
71 | SAH Lab | None |  | SAH Lab | LW-FB01 |  | 2016-03-04 | 2017-03-04
82 | Digital Multimeter | Agilent | 34401A | R64 | MW-DMM02 | MY47039018 | 2020-02-05 | 2020-08-05
86 | Flow Indicator | Durant | 57701-470 | MC Flow Lab | LW-FB06-IND01 | 119902-3 | 2016-03-17 | 2017-03-17
90 | MC DAQ | Measurement Computing | USB-2416 | MC Lab | LW-DAQ10 | 87810 | 2019-06-06 | 2020-06-05
93 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC02 | MY41016021 | 2016-05-10 | 2017-05-10
94 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC03 | MY41005792 | 2019-08-27 | 2020-02-25
101 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC07 | MY41005788 | 2016-06-09 | 2017-06-09
106 | Ashcroft Module | Ashcroft | AQS-1 | MC Lab | LW-PM025 | 11567 | 2019-06-25 | 2020-06-24
112 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC13 | MY41199676 | 2016-03-16 | 2015-07-12
113 | Pressure Controller | Druck | DPI-515 | MC Lab | LW-PC01 | 51500366 | 2017-09-15 | 2019-09-15
114 | Pressure Controller | Ruska | 7250Lp | MC Lab | LW-PC02 | 61116 | 2018-07-27 | 2019-07-27
126 | Pace Pressure Module | GE/Druck | CM2-13G | MC Lab | LW-PCM01 | 4042138 | 2019-06-07 | 2020-06-06
127 | Digital Multimeter | Agilent | 34401A | MC Lab | LW-DMM02 | MY45003554 | 2019-04-03 | 2020-04-02
129 | Flow Indicator | Durant | 57701-470 | MC Flow Lab | LW-FB07-IND02 | 110003-1 | 2016-03-22 | 2017-03-17
131 | Eurotron Multi-Function Caliobrator | Eurotron | MicroCal 2000+ | MC Lab | LW-MFC006 | 85250 | 2018-12-12 | 2019-03-13
132 | Ashcroft Module | Ashcroft | GQS-2 | MC Lab | LW-PM030 | 28120 | 2019-08-16 | 2020-08-15
134 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM032 | 5805 | 2019-08-16 | 2020-08-15
138 | Flow Indicator | Durant | 57701-470 | MC Flow Lab | LW-FB08-IND03 | 119902-2 | 2016-04-25 | 2017-04-25
139 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM034 | 17851 | 2019-06-25 | 2020-06-24
140 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM035 | 57358 | 2019-06-26 | 2020-06-25
141 | Ashcroft Module | Ashcroft | AQS-1 | MC Lab | LW-PM036 | 11570 | 2019-06-26 | 2020-06-25
150 | Ashcroft Module | Ashcroft | HQS-2 | MC Lab | LW-PM037 | 38229 | 2019-08-16 | 2020-08-15
151 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC007 | 2655 | 2017-05-19 | 2018-05-19
153 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM038 | 25222 | 2019-06-26 | 2020-06-25
154 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM039 | 57354 | 2019-06-26 | 2020-06-25
156 | Ashcroft Calibrator | Ashcroft | MC6 | Manufacturing Engineering | MW-MFC011 | 49528 | 2019-06-27 | 2020-06-26
158 | FLIR Thermal Imaging Camera | FLIR | E40 | MC Lab | LW-TIC01 | 490002360 | 2017-06-06 | 2018-06-06
160 | RTD Probe | Fluke | 5616-12 | MC Lab | LR-DTR01-RTD01 | 39713 | 2018-09-19 | 2019-03-20
162 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB08-FM03 | 7ME611 064112U242 | 2020-03-02 | 2020-06-01
164 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB09-FM04 | 7ME611 099712U083 | 2017-01-20 | 2017-11-30
165 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB06-FM02 | 688012U455 | 2020-01-08 | 2020-04-08
168 | Anemometer | TSI | 8455-12 | R64 | MW-FB01-ANM01 | 62120030 | 2019-05-15 | 2020-05-14
169 | Anemometer | TSI | 8455-12 | R64 | MW-FB01-ANM02 | 62120031 | 2019-05-14 | 2020-05-13
174 | Anemometer | TSI | 8455-12 | R64 | MW-FB02-ANM03 | 60040051 | 2019-01-03 | 2020-01-03
176 | Ashcroft Calibrator | Ashcroft | MC6 | MC Lab | MW-MFC012 | 49379 | 2019-03-14 | 2020-03-13
177 | Ashcroft Module | Ashcroft | HQS-2 | MC Lab | LW-PM040 | 35791 | 2019-08-16 | 2020-08-15
184 | Pace Pressure Module | GE/Druck | CM2-10G | MC Lab | LW-PCM03 | 4154984 | 2020-01-30 | 2020-07-30
185 | Omega Humidity, Temperature and Barometric Pressure | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP01 | 4140549 | 2016-04-26 | 2016-10-27
188 | Pace Pressure Module | GE/Druck | CM2-008G | MC Lab | LW-PCM04 | 3538184 | 2019-07-15 | 2020-07-14
189 | Pace Pressure Module | GE/Druck | CM0-008G | Balometer Lab | MW-PCM01 | 10410536 | 2016-04-29 | 2017-04-25
195 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM045 | 25223 | 2019-08-16 | 2020-08-15
204 | Ashcroft Module | Ashcroft | GQS-1 | MC Lab | LW-PM046 | 25221 | 2019-08-16 | 2020-08-15
210 | Pace Pressure Module | GE/Druck | CM2-B-13G | MC Lab | LW-PCM06 | 3865256 | 2019-08-15 | 2019-08-15
216 | Ashcroft Module | Ashcroft | GQS-2 | MC Lab | LW-PM051 | 57081 | 2019-08-06 | 2020-08-05
219 | Ashcroft Module | Ashcroft | GQS-1 | California | MW-PM034 | 38233 | 2016-07-06 | 2017-07-06
221 | Ashcroft Module | Ashcroft | GQS-1 | California | MW-PM036 | 7892 | 2016-07-06 | 2017-07-06
226 | Humidity & Temperature Meter | Vaisala | HMT333 | R64 | MW-HMT02 | J3050105 | 2018-08-15 | 2019-08-15
234 | Measurement Computing DAQ | Engineering Lab Design | USB-1616HS | Manufacturing Wind Tunnel | MW-FB01-DAQ01 | 373641 | 2018-05-17 | 2019-05-17
245 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI03 | 2000 - 4 | 2019-07-19 | 2020-07-18
247 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI05 | 300 - 5 | 2019-07-19 | 2020-07-18
248 | Azonix RTD Thermometer | Azonix | A1011-RS-XX-RT41 | MC Lab | LW-TR01 | T1801-3260 | 2016-06-22 | 2016-08-09
249 | Pyromation Platinum Resistance Thermometer RTD | Pyromation | R5T185L434-012-00-15-T3072-2 | MC Lab | LW-TR01-RTD01 | 28788 | 2016-06-22 | 2016-08-09
250 | Ashcroft Module | Ashcroft | GQS-2 | R54 | MW-PM045 | 61678 | 2018-08-28 | 2019-08-28
252 | Ashcroft Calibrator | Ashcroft | MC2 | R54 | MW-MFC018 | 14639 | 2019-05-03 | 2020-05-02
257 | Vaisala Humidity & Temperature Meter | Vaisala | HMT333 | MC Lab | LW-HMT05 | C0410008 | 2018-09-07 | 2018-12-07
258 | Vaisala Humidity, Temperature & Pressure Meter | Vaisala | PTU307 | MC Lab ZPST | LW-HTP04 | G2040003 | 2017-11-15 | 2018-11-15
266 | Tektronix Digital Power Supply | Tektronix | PWS4602 | MC Lab | LW-DPS01 | C010213 | 2018-09-25 | 2019-09-25
283 | Master Gauge | Wika | Wika | Wolcott | MW-PI06 | 600 - 15 | 2019-01-30 | 2019-08-14
288 | Ashcroft Calibrator | Ashcroft | MC2 | R54 | MW-MFC026 | 15255 | 2019-06-25 | 2020-06-24
293 | Carbon Dioxide Probe | Vaisala | GMP343 | Australia | MR-COT06 | M2120002 | 2020-03-09 | 2018-04-10
294 | Barometer | Control Company | 6530 | Australia | LW-PI01 | 160256966 | 2016-07-21 | 2018-02-18
295 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M, LIN, 5IN, GAS: N2 | Grandview | MW-FM01 | 115718 | 2019-01-17 | 2020-01-17
296 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, LIN, 5IN, GAS: N2 | Grandview | MW-FM02 | 104989 | 2019-05-17 | 2020-05-16
301 | Ashcroft Calibrator | Ashcroft | MC2 | MC Lab | LW-MFC014 | 4211 | 2018-10-23 | 2019-10-23
312 | Waterproof Stopwatch | Control Company | 94460-55 | MC Flow Lab | LW-SW01 | 160236589 | 2018-02-28 | 2018-02-28
313 | Humidity & Temperature Meter | Vaisala | HMT333 | Manufacturing Engineering | MW-HMT05 | M3020201 | 2016-08-02 | 2017-07-26
322 | Ashcroft Module | Ashcroft | GQS-1 | R64 | MW-PM065 | 59019 | 2020-02-06 | 2020-08-06
344 | Pace Pressure Module | GE/Druck | CM2-18G | MC Lab | LW-PCM11 | 3856067 | 2019-12-27 | 2020-06-26
345 | Dry Block Calibrator | Fluke | Fluke 9100S, Transcat 5853T | MC Lab | LW-DBC01 | B36677 | 2017-09-08 | 2018-09-08
346 | Digital Pressure Gauge | Dwyer | DPG-105 | MC Flow Lab | LW-FB04-DPI03 | M07918 | 2018-10-18 | 2019-10-18
348 | Pace Pressure Module | GE/Druck | CM0-02G | R64 | MW-PCM03 | 10484356 | 2016-08-12 | 2017-07-25
349 | Pace Pressure Module | GE/Druck | CM0-02G | R64 | MW-PCM04 | 10490894 | 2016-08-10 | 2017-08-10
351 | RTD Probe | Fluke | 5616-12 | MC Lab | LR-DTR02-RTD02 | 71040 | 2018-10-31 | 2019-01-30
357 | Digital Multimeter | Agilent | 34401A | MC Lab | LS-DMM11 | MY41047064 | 2019-11-14 | 2020-02-13
358 | Dwyer Pressure Transmitter | Dwyer | 3200G-5-FM-1-1-1-LCD | R54 | MW-PT03 | DWY3200-11150355 | 2016-08-23 | 2017-08-23
359 | Fluke Calibrator | Fluke | 715 | Manufacturing Engineering | MW-MFC038 | 3529408 | 2019-04-11 | 2020-04-10
367 | Master Gauge | Helicoid | Helicoid | Wolcott | MW-PI16 | 600 - 11 | 2016-08-26 | 2017-08-26
368 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, 5IN, GAS: Air | Grandview | MW-FM03 | 136850 | 2019-05-17 | 2020-05-16
376 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC039 | 49003 | 2020-04-20 | 2020-07-20
391 | Sentinel Leak Test Instrument | Cincinnati Test Systems | C-20 | R54 | MW-LRT01 | 33378-1844, LS44139 | 2016-10-24 | 2017-10-24
392 | Sentinel Leak Test Instrument | Cincinnati Test Systems | C-20 | Wolcott | MW-LRT02 | 52883-3729, LS94688 | 2016-10-22 | 2017-10-22
398 | Master Gauge | Helicoid | Helicoid | Wolcott | MW-PI17 | 1000 - 6 | 2018-08-31 | 2019-08-31
401 | Master Gauge | Robertshaw | Robertshaw | Wolcott | MW-PI18 | 160-6 | 2017-09-19 | 2018-09-19
407 | Alicat Scientific Flowmeter | Alicat Scientific | M-1SLPM-D/5M, GAS: N2 | Grandview | MW-FM04 | 69016 | 2020-02-18 | 2020-08-18
408 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M, LIN, GAS: N2 | Grandview | MW-FM05 | 43174 | 2020-02-19 | 2020-08-19
409 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M, LIN, GAS: N2 | Grandview | MW-FM06 | 41637 | 2020-02-18 | 2020-08-18
410 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M, LIN, GAS: N2 | Grandview | MW-FM07 | 41636 | 2020-02-18 | 2020-08-18
411 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, 5IN, GAS: Air | Grandview | MW-FM08 | 105683 | 2019-08-12 | 2020-08-11
412 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, 5IN, GAS: N2 | Grandview | MW-FM09 | 94986 | 2019-08-12 | 2020-02-10
430 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI20 | 30-30-1 | 2017-09-20 | 2018-09-20
431 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP02 | 2490103 | 2019-01-07 | 2019-04-08
434 | Digital Multimeter | Agilent | 34450A | R64 | MW-DMM04 | MY56240886 | 2016-10-05 | 2017-09-06
435 | Advantech DAQ | Advantech | USB-4716 | R64 | MW-DAQ02 | IAA9273160 | 2016-11-14 | 2017-11-14
436 | Digital Multimeter | Agilent | 34450A | Wolcott | MW-DMM05 | MY54300129 | 2016-10-06 | 2017-10-06
437 | Humidity & Temperature Meter | Vaisala | HMT333 | Wolcott | MW-HMT09 | L1020007 | 2018-11-06 | 2019-11-06
440 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP03 | 16390604 | 2019-08-05 | 2020-02-03
462 | Temperature Meter | Omega | HX97-A | MC Warehouse | LW-FB10-DTI01 | 1607001 | 2016-10-14 | 2017-07-26
463 | Humidity Meter | Omega | HX97-A | MC Warehouse | LW-FB10-DHI01 | 1607001 | 2016-10-14 | 2017-07-26
464 | Barometric Pressure Meter | Omega | PX02K1-16A5T | MC Warehouse | LW-FB10-DPI04 | 1607001 | 2016-10-14 | 2017-07-26
465 | Differntial Pressure Meter | Omega | PX657-05DI | MC Warehouse | LW-FB10-DPI05 | I16070150 | 2016-10-14 | 2017-02-16
469 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.025%) | R64 | MW-PM113 | 62173 | 2020-02-19 | 2020-08-19
477 | DGH, 4 - 20 mA DAQ | DGH | D1251 | R64 RHP | MW-DAQ03 | 930 | 2020-02-03 | 2020-08-03
479 | DGH, 4 - 20 mA DAQ | DGH | D1251 | R64 RHP | MW-DAQ05 | 509 | 2020-02-03 | 2020-08-03
482 | Heise Pressure Meter | Heise | PM | MC Lab | LW-DPI06 | 40031 | 2017-01-11 | 2018-01-11
484 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | R64 | MW-PM120 | 27818 | 2019-07-01 | 2020-06-30
488 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | R64 | MW-PM124 | 34736 | 2019-07-01 | 2020-06-30
489 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R64 | MW-PM125 | 30025 | 2019-07-01 | 2020-06-30
490 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | R64 | MW-PM126 | 39565 | 2019-07-01 | 2020-06-30
503 | Measurement Computing DAQ | Engineering Lab Design | USB-1616HS | Manufacturing Wind Tunnel | MW-FB01-DAQ07 | 365739 | 2018-06-05 | 2019-06-05
505 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP04 | 4170370 | 2019-09-03 | 2019-12-03
506 | Pace Pressure Module | GE/Druck | CM2-05G | R54 | MW-PCM05 | 4195242 | 2017-04-03 | 2018-04-03
511 | DGH, +/- 10V DAQ | DGH | D1141 | R64 RHP | MW-DAQ09 | 2 | 2016-11-09 | 2017-11-09
514 | Pace Pressure Module | GE/Druck | CM2-008G | R54 | MW-PCM07 | 3556699 | 2017-03-07 | 2018-03-07
515 | Mensor | Mensor | 15000 | MC Lab | LW-DPI07 | 240807 | 2020-02-18 | 2020-08-18
516 | Digital Multimeter | Agilent | 34401A | R54 | MW-DMM08 | MY44005682 | 2016-11-16 | 2017-11-16
517 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M, LIN, GAS: N2 | Grandview | MW-FM10 | 48742 | 2019-05-01 | 2020-05-01
518 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M, LIN, GAS: N2 | Grandview | MW-FM11 | 43173 | 2019-04-30 | 2020-04-30
519 | Alicat Scientific Flowmeter | Alicat Scientific | M-1SLPM-D/5M, LIN, GAS: N2 | Grandview | MW-FM12 | 69015 | 2019-05-01 | 2020-05-01
520 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M, LIN, GAS: N2 | Grandview | MW-FM13 | 48743 | 2019-04-30 | 2020-04-30
529 | Fluke Documenting Process Calibrator | Fluke | 741B | R54 | MW-MFC061 | 8076012 | 2019-02-07 | 2020-02-07
563 | Carbon Dioxide Probe | Vaisala | GMP343 | MC Lab | LR-COT01 | M4640007 | 2020-03-20 | 2020-06-19
589 | Pressure Controller | Mensor | CPC3000( 0.025% F.S.) | MC Lab | LW-PC05 | 810157 | 2019-08-07 | 2020-08-06
594 | Torque Wrench | Proto | 6016 | MC Lab | LW-TW02 | 6004 PB | 2019-08-14 | 2020-08-13
596 | V-Cone Differential Pressure Flowmeter | McCrometer | VB08QE01N-N | SAH Lab | LW-FB01-FM05 | 16-2058 | 2016-12-21 | 2017-11-15
597 | Pace Pressure Module | GE/Druck | CM0-18G | R64 490A HKIT | MW-PCM08 | 10584968 | 2017-01-04 | 2017-12-14
603 | Micro-Torque Screwdriver | Mountz | QSN600FH | MC Lab | LW-TSD01 | 6CJ011087 | 2017-01-11 | 2018-01-11
604 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ24 | US37029531 | 2019-08-27 | 2020-02-25
605 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ25 | US37006262 | 2017-01-06 | 2018-01-06
613 | Digital Multimeter | HP | 34401A | MC Lab | LS-DMM05 | US36041370 | 2019-11-14 | 2020-02-13
632 | Emerson/Rosemont Pressure Transmitter | Emerson/Rosemont | 3051SMV5M11A3R2E11A1AC12B4M5Q4 | Sonic Nozzle System | LW-FB14-FC03 | 500463 | 2019-05-16 | 2020-05-15
634 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI01 | 60 - 16 | 2019-01-18 | 2020-01-18
638 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | MC Flow Lab | LW-FB09-FM06 | PBD-J1110024 | 2019-03-27 | 2020-03-26
653 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | R54 | MW-PM182 | 29304 | 2019-01-31 | 2020-01-31
665 | Digital Multimeter | Agilent | 34401A | CE Test Station | LS-DMM12 | 3146A24524 | 2019-12-03 | 2020-03-03
668 | Master Gauge | Robertshaw | Acragage | Wolcott | MW-PI26 | 60 - 7 | 2018-02-28 | 2019-02-28
670 | Anemometer | E+E Elektronik | EE75-VTC635K200D06/BN-V12-T02 | MC Flow Lab | LW-FB02-ANM03 | 164702000013 | 2020-02-14 | 2020-08-14
671 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R64 | MW-PM186 | 62560 | 2019-07-01 | 2020-06-30
676 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | R64 | MW-PM190 | 59881 | 2019-07-01 | 2020-06-30
680 | Alicat Scientific Flowmeter | Alicat Scientific | MC-2SLPM-D/5M, LIN, 5IN, GAS: Air | Grandview | MW-FM14 | 83809 | 2019-01-24 | 2019-07-25
681 | Alicat Scientific Flowmeter | Alicat Scientific | MC-2SLPM-D/5M, LIN, 5IN, GAS: Air | Grandview | MW-FM15 | 83810 | 2019-01-24 | 2019-07-25
682 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG 1100 | Grandview | MW-FM16 | 7ME611 118012U253 | 2017-03-29 | 2019-03-29
683 | Pressure Transmitter |  | PTX 620 | Grandview | MW-PT04 | 930837 JG | 2017-03-08 | 2019-03-08
686 | Orifice Plate | Sensing Precision | 45.0MM | Sensing Precision Wind Tunnel | MW-FB04-OP08 |  | 2019-03-20 | 2020-03-19
692 | Ashcroft Calibrator | Ashcroft | MC6 | Wakarusa | MW-MFC071 | 49037 | 2017-03-21 | 2018-03-15
693 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | Wakarusa | MW-PM194 | 64367 | 2017-03-28 | 2018-03-01
694 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.07%) | Wakarusa | MW-PM195 | 64368 | 2017-03-21 | 2018-03-15
695 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | Wakarusa | MW-PM196 | 64369 | 2017-03-21 | 2018-03-01
696 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | Wakarusa | MW-PM197 | 64370 | 2017-03-21 | 2018-03-13
697 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | Wakarusa | MW-PM198 | 64371 | 2017-03-15 | 2018-03-15
698 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, LIN, 5IN, GAS: N2 | Grandview | MW-FM17 | 59190 | 2018-11-21 | 2019-11-21
699 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M, LIN, 5IN, GAS: N2 | Grandview | MW-FM18 | 59191 | 2018-11-28 | 2019-05-29
703 | Pressure Transmitter | Prosense | PTD25-20-0100H | P01 Pilot Line | MW-PT09 | 121403A | 2019-11-05 | 2020-03-19
704 | Pressure Transmitter | Prosense | PTD25-20-0100H | P01 Pilot Line | MW-PT10 | 121640A | 2019-11-05 | 2020-03-19
705 | Temperature Transmitter | Dwyer | 651A-10 | Grandview | MW-TT01 | T Master M | 2017-04-05 | 2018-03-31
706 | NICE Flowmeter | NICE | 1000-075-040-2-1-1-3-2-1 | Grandview | MW-FM19 | 0714973986E | 2017-04-05 | 2018-04-04
708 | Temperature Transmitter | Dwyer | TTE-104-W-LCD | P01 Flow Lab | LW-FB11-TT04 | M08258 | 2018-11-28 | 2019-11-28
713 | Digital Multimeter | Keysight | 34450A | P01 Insertion Mag | MW-DMM11 | MY56200638 | 2019-09-05 | 2020-03-05
715 | Vaisala Humidity & Temperature Meter | Vaisala | HMT333 | Manufacturing Engineering | MW-HMT18 | N1430052 | 2017-04-12 | 2018-04-05
716 | Vaisala Humidity & Temperature Meter | Vaisala | HMT333 | R64 | MW-HMT19 | E4340208 | 2019-08-20 | 2020-08-19
717 | Vaisala Humidity & Temperature Meter | Vaisala | HMT333 | R64 | MW-HMT20 | H2030112 | 2019-08-14 | 2020-08-13
723 | AVO Dielectric Strength Tester | AVO | Megger Hi-Pot MHP1 | MC Lab | LW-DST01 | 6111-325 | 2017-05-15 | 2018-05-15
735 | Carbon Dioxide Probe | Vaisala | GMP343 | P01 Pilot Line | MR-COT03 | N2220010 | 2019-05-07 | 2020-05-06
737 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC15 | MY51200290 | 2020-01-21 | 2020-07-21
738 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC14 | MY51201233 | 2020-01-21 | 2020-07-21
739 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC16 | MY51200064 | 2020-01-21 | 2020-07-21
741 | Agilent DAQ | Agilent | 34970A | MC Lab | LW-DAQ28 | US37030627 | 2020-01-21 | 2020-07-21
742 | Digital Multimeter | Keysight | 34450A | P01 Production Line | MW-DMM14 | MY56401354 | 2019-06-24 | 2020-06-23
743 | Digital Multimeter | Keysight | 34450A | R64 | MW-DMM15 | MY57092235 | 2019-04-16 | 2020-04-15
748 | Portable low-pressure controller | Mensor | CPC2000 | MFG ENG | MW-PC01 | 7192417 | 2017-07-10 | 2018-06-23
749 | Portable low-pressure controller | Mensor | CPC2000 | R64 616KD | MW-PC02 | 7212417 | 2017-09-19 | 2018-09-19
750 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM17 | DM3R191700642 | 2017-07-12 | 2018-07-12
752 | Vaisala Humidity, Temperature and Barometric Pressure Transmitter | Vaisala | PTU-303 | Manufacturing Engineering AVUL | MW-HTP06 | N2610341 | 2020-04-23 | 2020-07-23
755 | Carbon Dioxide Analyzer | PP Systems | WMA-5 | Manufacturing Engineering | MW-COA01 | WMA0068 | 2017-08-01 | 2018-08-01
759 | Digital Multimeter | HP | 34401A | MC Lab | LW-DMM09 | US36070897 | 2017-08-17 | 2018-08-17
762 | High Voltage Differential Probe | Rigol | RP1050D | MC Lab | LW-HVDP01 | 20160369 | 2018-10-19 | 2019-10-19
765 | Portable low-pressure controller | Mensor | CPC2000 | MFG ENG | MW-PC03 | 7383017 | 2017-08-15 | 2018-02-08
767 | Omega Environmental Transmitter | Omega | IBTHX-W | MC Lab | LW-HTP05 | 17270661 | 2018-08-28 | 2019-08-28
768 | Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA020CA1M4D1 | P01 Large Flow Loop | MW-FM42 | 14661299 | 2019-11-05 | 2020-05-21
769 | Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA040CA1M4D1 | P01 Flow Lab | MW-FM43 | 14661300 | 2019-11-05 | 2020-05-23
770 | Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA080CA1M4D1 | P01 Flow Lab | MW-FM44 | 14661256 | 2019-11-05 | 2019-11-09
778 | Temperature & Humidity Transmitter | Dwyer | RHP-2D11 | R64 | MW-HMT21 | M08549 | 2018-10-03 | 2019-10-03
779 | Differential Pressure Transmitter | Dwyer | MS2-D102 | R64 | MW-PT05 | 013RXP | 2018-08-31 | 2019-08-31
780 | Differential Pressure Transmitter | Dwyer | MS2-W102 | R64 | MW-PT06 | 0135VG | 2018-08-31 | 2019-08-31
781 | Digital Differential Pressure Transmitter | Dwyer | MS2-N102 | R64 | MW-PT07 | 013S5Y | 2018-08-30 | 2019-08-30
782 | Differential Pressure Indicating Transmitter | Dwyer | 605-0 | R64 | MW-PT08 | 00GSUB | 2018-08-31 | 2019-08-31
783 | Pressure Controller | Dwyer | DH-004 | R64 | MW-PC04 | 00PX1Y | 2018-08-31 | 2019-08-31
784 | Digital Manometer | Dwyer | 478A-1 | R64 | MW-DPI04 | M08529 | 2018-08-31 | 2019-08-31
785 | Digital Manometer | Dwyer | 476A-0 | R64 | MW-DPI05 | M08528 | 2018-08-31 | 2019-08-31
786 | Temperature & Humidity Transmitter | Dwyer | RHP-2O11 | R64 | MW-HMT22 | M08548 | 2018-10-03 | 2019-10-03
787 | Temperature & Humidity Transmitter | Dwyer | RHP-2N40 | R64 | MW-HMT23 | M08540 | 2018-10-03 | 2019-10-03
788 | Temperature & Humidity Transmitter | Dwyer | RHP-2N44 | R64 | MW-HMT24 | M08539 | 2018-10-03 | 2019-10-03
789 | Pressure Controller | Dwyer | DH3-011 | R64 | MW-PC05 | 00K4EM | 2018-08-31 | 2019-08-31
790 | Dust Controller Timer | Dwyer | DCT510 | R64 | MW-DCT01 | 014Q2Q | 2018-08-31 | 2019-08-31
791 | Dust Controller Timer | Dwyer | DCT510 | R64 | MW-DCT02 | 014Q2N | 2018-08-31 | 2019-08-31
792 | Dust Controller Timer | Dwyer | DCT632 | R64 | MW-DCT03 | 014Q31 | 2018-08-31 | 2019-08-31
793 | Dust Controller Timer | Dwyer | DCT1022 | R64 | MW-DCT04 | 014Q2C | 2018-08-31 | 2019-08-31
794 | Dust Controller Timer | Dwyer | DCT1022 | R64 | MW-DCT05 | 014Q2V | 2018-08-31 | 2019-08-31
795 | Small Loop Water Flow Bench | Dwyer |  | P01 Pilot Line | LW-FB12 |  | 2017-09-13 | 2018-09-13
797 | Digital Multimeter | Keysight | 34450A | R64 616KD-LR Line | MW-DMM19 | MY54510222 | 2019-12-26 | 2020-06-25
798 | Digital Multimeter | Agilent | 34401A | R64 RHP | MW-DMM20 | MY41042165 | 2017-09-28 | 2018-03-29
809 | Portable low-pressure controller | Mensor | CPC2000 | R64 | MW-PC06 | 7513817 | 2017-10-10 | 2018-09-01
820 | Agilent DAQ Card | Agilent | 34901A | MC Lab | LW-DAQC18 | MY41210814 | 2019-08-27 | 2020-02-25
822 | Rosemount 8732 Magnetic Flowmeter | Emerson/Rosemount | 8732EMT1A1N5M4D1 | P01 Pilot Line | MW-FM45 | 4200796 | 2019-11-06 | 2019-05-19
823 | Siemens MAGFLO Flowmeter | Siemens | SITRANS F M MAG6000 | P01 Pilot Line | MW-FM46 | 7ME658 175301U194 | 2019-11-06 | 2019-10-09
826 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM23 | DM3R192000814 | 2019-02-21 | 2020-02-21
827 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM24 | DM3R191700641 | 2019-02-21 | 2020-02-21
833 | Ashcroft Calibrator | Ashcroft | MC6 | MFG ENG | MW-MFC084 | 49068 | 2019-07-23 | 2020-07-22
835 | 2" Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA020CA1M4D1 | P01 Pilot Line | MW-FM47 | 14739523 | 2018-12-07 | 2019-12-07
837 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM25 | DM3R191700646 | 2017-12-11 | 2018-12-11
839 | Digital Multimeter | Rigol | DM3058E | Manufacturing Engineering | MW-DMM26 | DM3R192000829 | 2019-02-18 | 2020-02-18
843 | Ashcroft Calibrator | Ashcroft | ATE2-HHC | Manufacturing Engineering | MW-MFC085 | 21085 | 2018-01-12 | 2018-12-18
845 | Ashcroft Module | Ashcroft | AM2-2 (+/- 0.05%) | Manufacturing Engineering | MW-PM221 | A1117 | 2019-04-30 | 2020-04-29
846 | Ashcroft Module | Ashcroft | AM2-2 (+/- 0.05%) | Manufacturing Engineering | MW-PM222 | A1133 | 2019-04-30 | 2020-04-29
849 | Flowhood | Shortridge | CFM-88L Series 8400 | P01 Pilot Line | MW-FB04-FH01 | M14522 | 2018-02-07 | 2019-02-07
850 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM20 | 56460 | 2019-01-18 | 2020-01-18
851 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM21 | 56767 | 2019-09-06 | 2019-12-06
852 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM22 | 56768 | 2020-01-21 | 2020-07-20
853 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM23 | 56769 | 2019-01-18 | 2020-01-18
854 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM24 | 56771 | 2019-01-18 | 2020-01-18
855 | Alicat Scientific Flowmeter | Alicat Scientific | M-1SLPM-D/5M | P01 Pilot Line | MW-FM25 | 69017 | 2019-01-17 | 2020-01-17
857 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM27 | 98321 | 2019-01-29 | 2020-01-29
858 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM28 | 98323 | 2020-02-17 | 2020-04-21
859 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM29 | 98325 | 2019-01-22 | 2020-01-22
860 | Alicat Scientific Flowmeter | Alicat Scientific | M-1SLPM-D/5M | P01 Pilot Line | MW-FM30 | 98326 | 2019-01-24 | 2019-07-25
861 | Alicat Scientific Flowmeter | Alicat Scientific | M-1SLPM-D/5M | P01 Pilot Line | MW-FM31 | 98327 | 2020-01-20 | 2020-07-19
863 | Flowhood | TSI/Alnor | EBT731 | P01 Pilot Line | MW-FB04-FH02 | EBT731635015 | 2018-01-24 | 2019-01-24
864 | Absolute Pressure Gauge | Wallace & Tiernan | FA129 | MC Flow Lab | LW-FB04-PI02 | EE14290 | 2018-01-17 | 2019-01-17
866 | Alicat Scientific Flowmeter | Alicat Scientific | M-1SLPM-D/5M | P01 Pilot Line | MW-FM33 | 69018 | 2019-01-29 | 2020-01-29
867 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM34 | 98324 | 2019-01-28 | 2020-01-28
868 | Alicat Scientific Flowmeter | Alicat Scientific | MC-1SLPM-D/5M | P01 Pilot Line | MW-FM35 | 98322 | 2019-01-24 | 2020-01-24
872 | Sentinel Precision Leak Test Standard | Cincinnati Test Systems | 520-7.00 scc/m-150.00 psig-24 | Blaze Technical Services | MR-LRT01-LRS01 | LS103848 | 2018-01-24 | 2019-01-05
873 | Sentinel Precision Leak Test Standard | Cincinnati Test Systems | 520-7.00 scc/m-150.00 psig-24 | Blaze Technical Services | MR-LRT01-LRS02 | LS104050 | 2019-02-13 | 2020-02-13
874 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | P01 Flow Lab | MW-APLC01 | P2-8AD4DA-1+17116F039D | 2019-05-17 | 2020-05-16
875 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | P01 Flow Lab | MW-APLC02 | P2-8AD4DA-1+17Z08F014D | 2018-01-25 | 2019-01-25
878 | MC DAQ | Measurement Computing | USB-2416-4AO | MC Lab | LW-DAQ32 | 106572 | 2020-01-24 | 2020-07-24
880 | Flowhood | Testo | 420 | P01 Pilot Line | MW-FB04-FH03 | 50600736/507 | 2018-02-08 | 2019-02-08
881 | Stopwatch | Control Company | 94460-55 | MC Flow Lab | LW-SW02 | 18007362 | 2020-01-20 | 2020-01-30
891 | Orifice Plate | Unknown | 72.2MM | Sensing Precision Wind Tunnel | MW-FB04-OP09 |  | 2019-03-20 | 2020-03-19
894 | Dust Controller Timer | Dwyer | DCT510A-DC-SC | R64 | MW-DCT06 | 014S3L | 2018-03-06 | 2019-03-06
895 | Dust Controller Timer | Dwyer | DCT610-TO | R64 | MW-DCT07 | 014S3N | 2018-03-06 | 2019-03-06
896 | CO2 Transmitter | Dwyer | CDT-2N40 | P01 Production Line | MW-COT01 | 01CP04 | 2018-03-07 | 2019-03-06
897 | CO2 Transmitter | Dwyer | CDT-2D40 | P01 Production Line | MW-COT02 | 01CPKX | 2018-03-07 | 2019-03-06
898 | Pace Measurement/Control Module | GE/Druck | CM2-16G | R54 | MW-PCM17 | 10810125 | 2018-05-04 | 2019-05-04
900 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI08 | 5207H | 2018-03-19 | 2019-03-19
910 | High Frequency Pressure Sensor | PCB Piezotronics | 113B23 | MC Lab | LW-DT01-HFPS01 | 36416 | 2019-06-19 | 2020-06-18
937 | Omega Environmental Transmitter | Omega | IBTHX-W | Flow Lab | LW-HTP06 | 18110656 | 2019-04-09 | 2019-10-08
950 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI09 | QW-5200-F | 2018-05-01 | 2019-05-01
951 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI10 | QW-5200-E | 2018-05-01 | 2019-05-01
954 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI13 | No QW # | 2018-05-02 | 2019-05-02
960 | Monthly Maintenance, Large Flow Loop | Dwyer | N/A | P01 Large Flow Loop | LW-FB11 |  | 2019-02-01 | 2019-03-03
980 | Cole Palmer Calibrator | Ashcroft | 68035-Series | Wakarusa | MW-MFC088 | 13068 | 2018-07-17 | 2019-07-17
982 | Ashcroft Calibrator | Ashcroft | MC6 | 629HLP | MW-MFC089 | 49316 | 2020-02-12 | 2020-08-12
983 | Ashcroft Calibrator | Ashcroft | MC6 | Manufacturing Engineering | MW-MFC090 | 50548 | 2019-08-19 | 2020-08-18
984 | Ashcroft Calibrator | Ashcroft | MC6 | Manufacturing Engineering | MW-MFC091 | 50568 | 2018-07-30 | 2019-07-30
985 | Portable low-pressure controller | Mensor | CPC2000 | MC Lab | MW-PC08 | 8221518 | 2019-06-11 | 2019-12-10
986 | Weekly Maintenance, Large Flow Loop | Dwyer | N/A | P01 Large Flow Loop | LW-FB11 |  | 2019-04-05 | 2019-04-12
1006 | Medium Flow Loop, Weekly Maintence | Dwyer | N/A | P01 Medium Flow Loop | LW-FB13 |  | 2019-04-05 | 2019-04-12
1007 | Monthly Maintenance, Medium Flow Loop | Dwyer | N/A | P01 Medium Flow Loop | LW-FB13 |  | 2019-02-06 | 2019-03-08
1008 | Digital Multimeter | Keysight | 34450A | R64 RHP | MW-DMM29 | MY58200055 | 2019-06-20 | 2020-06-19
1012 | Ashcroft Calibrator | Ashcroft | MC-2 | Wakarusa | MW-MFC092 | 10071 | 2018-09-27 | 2019-09-27
1013 | Ashcroft Calibrator | Ashcroft | MC-2 | Wakarusa | MW-MFC093 | 6076 | 2018-09-27 | 2019-09-27
1014 | Ashcroft Calibrator | Ashcroft | MC-2 | Wakarusa | MW-MFC094 | 13722 | 2018-09-27 | 2019-09-27
1016 | Ashcroft Calibrator | Ashcroft | MC6 | 629HLP | MW-MFC095 | 49720 | 2020-02-12 | 2020-08-12
1017 | Pace Measurement/Control Module | GE/Druck | CM2-16G | P01 Pilot Line | MW-PCM26 | 4216772 | 2018-10-10 | 2019-05-12
1018 | High Pressure Air Compressor | Coltri Americas | 8019.2 | MC Lab | LS-CMP01 | AOr-0380292 | 2019-02-04 | 2019-03-06
1021 | Ashcroft Calibrator | Ashcroft | MC2 | Manufacturing Engineering | MW-MFC098 | 10702 | 2018-10-29 | 2019-10-29
1027 | Alicat Scientific Flowmeter | Alicat Scientific | MC-5SLPM-D/5M | Grandview | MW-FM37 | 100029 | 2018-11-26 | 2019-11-21
1030 | Pace Pressure Module | GE/Druck | CM2-11G | MC Lab | LW-PCM14 | 3990469 | 2019-04-05 | 2020-04-04
1051 | ASTM Mass set | Troemner |  | MC Flow Lab | LR-GPG01-MS02 | 4000021126 | 2018-12-21 | 2019-05-17
1052 | High Range Piston-Cylinder | Fluke | 2465-729 | MC Lab | LR-GPG01-PSC01 | V1765 | 2019-04-30 | 2020-04-29
1054 | Laboratory Environmental Monitor | Fluke | 2456-LEM | MC Lab | LR-GPG01-LEM01 | 73132 | 2019-08-20 | 2020-08-19
1056 | Fluke PRT | Fluke | 2455-11-006 | MC Lab | LR-GPG01-RTD6 | 73619 | 2019-08-21 | 2020-02-19
1057 | Weekly Maintenance, Small Flow Loop | Dwyer | N/A | P01 Small Flow Loop | LW-FB12 |  | 2019-11-05 | 2019-11-12
1058 | Monthly Maintenance, Small Flow Loop | Dwyer | N/A | P01 Small Flow Loop | LW-FB12 |  | 2019-01-05 | 2019-02-03
1060 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | P01 Flow Lab | MW-APLC04 | P2-8AD4DA-1+18724F048D | 2019-01-11 | 2020-01-11
1065 | AEMC Instruments DAQ | AEMC Instruments | L452 | MC Lab | LW-DAQ34 | 143411 QMH | 2019-01-23 | 2020-01-23
1066 | AEMC Instruments DAQ | AEMC Instruments | L452 | MC Lab | LW-DAQ35 | 143378 QMH | 2019-01-23 | 2020-01-23
1069 | Digital Multimeter | Keysight | 34450A | Manufacturing Engineering AVUL | MW-DMM35 | MY58490133 | 2019-01-24 | 2019-12-24
1071 | Ashcroft Calibrator | Ashcroft | MC6 | Manufacturing Engineering | MW-MFC102 | 49141 | 2019-01-29 | 2020-01-23
1078 | Ashcroft Calibrator | Ashcroft | MC6 | R54 | MW-MFC103 | 49120 | 2020-02-18 | 2020-08-18
1080 | Measurement Computing DAQ | Measurement Computing | USB-1408FS | CMT200/CMF300 | MW-DAQ14 | 1779A3B | 2019-03-12 | 2020-03-11
1081 | Measurement Computing DAQ | Measurement Computing | USB-1408FS | CMT200/CMF300 | MW-DAQ15 | 1DD42C5 | 2019-02-18 | 2020-02-18
1082 | Digital Pressure Gauge | Dwyer | DPG-106 | Blaze Technical Services | MW-LRT01-DPI19 | IP68821C15AD-2 | 2019-02-26 | 2020-02-20
1083 | Digital Pressure Gauge | Dwyer | DPG-106 | Blaze Technical Services | MW-LRT01-DPI20 | IP64765C02AD-9 | 2019-02-26 | 2019-04-25
1084 | Orifice Plate | Sensing Precision | 101.6MM | Sensing Precision Wind Tunnel | MW-FB04-OP13 |  | 2019-03-20 | 2020-03-19
1085 | Orifice Plate | Sensing Precision | 150.0MM | Sensing Precision Wind Tunnel | MW-FB04-OP14 |  | 2019-03-20 | 2020-03-19
1086 | Orifice Plate | Sensing Precision | 164.0MM | Sensing Precision Wind Tunnel | MW-FB04-OP15 |  | 2019-03-20 | 2020-03-19
1100 | Sentinel Precision Leak Test Standard | Cincinnati Test Systems | 520-7.00 scc/m-150.00 psig-24 | Blaze Technical Services | MR-LRT01-LRS03 | LS112846 | 2019-03-18 | 2020-03-04
1101 | Agilent LCR Meter | Agilent | 4263B | MC Lab | LW-LCR01 | MY40112563 | 2019-04-17 | 2020-04-16
1110 | Torque Display | Advanced Witness Series, Inc. | AWS-3000 (+/- .5% of indicated reading, top 90% of full scale) | MC Lab | LW-TD01 | 20686-1 | 2019-03-27 | 2019-09-09
1113 | Torque Screwdriver | ASG | TL-3000 | R64 | MW-TSD01 | 519209 | 2019-04-02 | 2020-03-28
1114 | Torque Screwdriver | ASG | TL-3000 | R64 | MW-TSD02 | 519217 | 2019-04-02 | 2020-03-28
1122 | Torque Screwdriver | ASG | TL-3000 | R64 | MW-TSD03 | 519217 | 2019-04-10 | 2020-04-09
1123 | Electro-Static Discharge Network | Teseq AG | INA 4380 | MC Lab | LW-ESDN01 | 437818 | 2019-04-11 | 2020-03-25
1125 | Ashcroft Module | Ashcroft | AQS-2 (+/- 0.1%) | 629HLP | MW-PM316 | A1993 | 2020-02-14 | 2020-07-07
1131 | Pressure Controller | Druck | DPI-515 | MC Lab | LW-PC07 | 51500375 | 2019-06-03 | 2020-06-02
1144 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.05%) | R54 | MW-PM297 | A3349 | 2019-05-08 | 2020-04-30
1149 | Automation Direct Analog PLC Card | Automation Direct | P2-8AD4DA-1 | P01 Flow Lab | MW-APLC05 | P2-8AD4DA-1+18X10F051D | 2019-05-08 | 2020-04-30
1150 | Ashcroft Calibrator | Ashcroft | ATE-100 | R54 | MW-MFC111 | 15901 | 2019-05-09 | 2020-05-02
1151 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI21 | QW-5201-D | 2019-05-09 | 2020-05-06
1152 | Digital Pressure Indicating Box | Dwyer | N/A | Wakarusa | MW-DPI22 | QW-5204-D | 2019-05-15 | 2020-05-14
1153 | Reference Resistor | Wika | RR 100 | P01 Pilot Line | MR-RES01 | 044437-01 | 2019-05-10 | 2020-03-10
1154 | Reference Resistor | Wika | RR 1K | P01 Pilot Line | MR-RES02 | 43581-01 | 2019-05-10 | 2020-03-10
1155 | RTD | Rosemount | 214CRTSMB1S4E0020SLAR1C1B1TB | 0 - 250 cfm Flow Bench | LW-FB14-FC03-RTD04 | 44709 | 2019-05-16 | 2020-05-14
1158 | AC Power Supply | BK Precision | BK9801 | MC Lab | LW-APS02 | 8.0229e+17 | 2019-05-31 | 2020-05-30
1161 | Ashcroft Calibrator | Ashcroft | MC6 | Grandview | MW-MFC112 | 49258 | 2019-06-27 | 2020-06-26
1164 | Low Temp. RTD | ESPEC | N/A | MC Lab | LW-TSC01-RTD01 |  | 2019-06-28 | 2020-03-31
1165 | High Temp. RTD | ESPEC | N/A | MC Lab | LW-TSC01-RTD02 |  | 2019-06-28 | 2020-03-31
1167 | Pace Measurement/Control Module | GE/Druck | CM2-14G | R54 | MW-PCM32 | 4288663 | 2019-07-09 | 2019-08-30
1168 | Pace Measurement/Control Module | GE/Druck | CM2-11G | R54 | MW-PCM33 | 3990759 | 2019-07-09 | 2018-09-03
1171 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | MC Lab | MW-PM306 | A3584 | 2019-11-26 | 2020-07-09
1172 | Automation Direct Analog PLC Card | Automation Direct | P2-HSI | P01 AVLV | MW-APLC07 | P2-HSI+18306F140C | 2019-07-16 | 2020-06-09
1175 | Digital Multimeter | Keysight | 34450A | Manufacturing Engineering AVUL | MW-DMM36 | MY59240131 | 2019-07-18 | 2020-06-19
1176 | Ashcroft Calibrator | Ashcroft | MC6 | P01 AVPT Pilot Line | MW-MFC114 | 49143 | 2019-07-22 | 2020-07-16
1177 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | P01 AVPT Pilot Line | MW-PM300 | A3404 | 2019-07-22 | 2020-07-16
1178 | Ashcroft Module | Ashcroft | GQS-1 (+/- 0.06%) | P01 AVPT Pilot Line | MW-PM301 | A3600 | 2019-07-22 | 2020-07-16
1179 | Monthly Maintenance, Small Flow Loop | Dwyer | N/A | P01 Small Flow Loop | LW-FB12 | Filter Replacement | 2019-07-22 | 2020-01-20
1184 | Vaisala Humidity, Temperature and Barometric Pressure Transmitter | Vaisala | PTU-303 | P01 AVPT Pilot Line | MW-HTP08 | R3120338 | 2019-08-09 | 2020-07-31
1185 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP08 | M19240269 | 2019-08-21 | 2020-08-12
1186 | Omega Humidity, Temperature and Barometric Pressure Transmitter | Omega Engineering | iBTHX-D | R64 | MW-FB01-HTP09 | M19240270 | 2019-08-21 | 2020-08-12
1189 | High Range Piston-Cylinder | Fluke | 2468-730 | MC Lab | LR-GPG01-PSC03 | G204 | 2019-08-28 | 2020-08-13
1229 | 2" Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA020CA1M4D1 | P01 Pilot Line | MW-FM50 | 14941406 | 2019-11-06 | 2020-08-07
1230 | 2" Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA020CA1M4D1 | P01 Pilot Line | MW-FM51 | 14930831 | 2019-11-06 | 2020-06-26
1231 | 4" Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA040CA1M4D1 | P01 Pilot Line | MW-FM52 | 14928886 | 2019-11-06 | 2020-06-18
1232 | 4" Rosemount 8750 Magnetic Flowmeter | Emerson/Rosemount | 8750WDMT1A1FPSA040CA1M4D1 | P01 Pilot Line | MW-FM53 | 14940611 | 2019-11-06 | 2020-08-01
1238 | Digital Multimeter | Keysight | 34450A | MFG ENG | MW-DMM40 | MY59240127 | 2019-11-18 | 2020-06-20
1252 | Digital Multimeter | Keysight | 34450A | Manufacturing Engineering | MW-DMM44 | MY58170050 | 2019-12-04 | 2020-05-13
1263 | DGH, 4 - 20 mA DAQ | DGH | D1251 | R64 RHP | MW-DAQ24 | 0930A | 2020-02-03 | 2020-08-03
1302 | Pace Measurement/Control Module | GE/Druck | CM1-16G | Manufacturing Engineering | MW-PCM52 | 4418083 | 2020-05-23 | 2020-05-26
1316 | Pace Measurement/Control Module | GE/Druck | CM2-14G | Manufacturing Engineering | MW-PCM53 | 4274631 | 2020-06-05 | 2015-09-15
1320 | Ashcroft Calibrator | Ashcroft | MC2 | Wakarusa | MW-MFC128 | 3179 | 2020-06-23 | 2020-06-04
1321 | Ashcroft Calibrator | Ashcroft | MC2 | Wakarusa | MW-MFC129 | 3894 | 2020-06-23 | 2020-07-01