## Revision Log
REVISION LOG: Uncertainty Database
Revision Number | Date | Comments | Author | Function
0 | 2019-12-02 | Initial creation of spreadsheet | Robert A. Maldonado | Engineering Lab Technician, Generalist

## Mass and Mass Related
Dwyer Instruments, Inc. - Michigan City: Engineering Laboratory Uncertainty Database
Parameter / Equipment | Range |  | Units | Expanded Uncertainty of Measurement |  |  | Reference Standard, Method, and/or Equipment
Pneumatic Absolute Pressure | -98 to 344.74 |  | kPa | 0.0016 | % of reading | 0.00095 | Fluke / Ruska 2465/8A
Pneumatic Absolute Pressure | 13.79 to 6894 |  | kPa | 0.0033 | % of reading | 0.00071 | Fluke / Ruska 2465/8A
Pneumatic Gage Pressure | 1.38 to 344.74 |  | kPa | 0.0018 | % of reading | 0.00039 | Fluke / Ruska 2465/8A
Pneumatic Gage Pressure | 13.790 to 6894 |  | kPa | 0.0033 | % of reading | 0.00036 | Fluke / Ruska 2465/8A
Pneumatic Gage Pressure | -30 to 30 |  | inH2O | 0.0092 | % of reading | 0.00032 | Ruska 7250LP