## Revision Log
REVISION LOG: Data Template - MC1, MC2, MC6 & ATE-X
Revision Number | Date | Comments | Author | Function
0 | 2020-05-12 | Initial creation of spreadsheet. | Robert A. Maldonado | Associate Metrology Engineer
1 | 2020-10-23 | Updated format of spreadsheet to 1) print correctly, 2) have gridlines and borders, 3) have updated fields / title / headers, 4) additional information relating to customer, product and calibration process information and 5) include updated tolerances based on guard banded uncertainties - best case along with 6) entry fields for reference data. 50% tolerance calculation is removed. Percent deviation is provided so technicians and quality personnel can review percentage of tolerance used by product and determine of adjustment is necessary based on internal measurement assurance program rules. | Robert A. Maldonado | Associate Metrology Engineer

## Data Template
Data Template - MC6, MC2, ATE-2
Customer, Product and Calibration Process Information
Certificate Number: |  |  |  | Temperature (F): |  | Procedure 1: |  | TC-00062
Sales Order Number: |  |  |  | Humidity (%RH): |  | Procedure 2: |  | TC-00069
Customer P.O. #: |  |  |  | Pressure (inHg): |  | Procedure 3: |  | TC-00072
Date of Receipt: |  |  |  | Dewpoint (F): |  | Procedure 4: |  | TC-00074
Calibration Date: |  |  |  | UUT Serial Number:
Calibration Due Date: |  |  |  | UUT Customer ID:
Pressure Module - Voltage Sensitivity Input (Reference Check)
|  | As Found |  |  |  | As Left
Set point | Tolerance | Reference | UUT | Percent Error | Pass / Fail | Reference | UUT | Percent Error | Pass / Fail
0V | 5e-05
0.5V | 5e-05
1V | 5e-05
Front Panel Voltage Input Jacks
|  | As Found |  |  |  | As Left
Set point | Tolerance | Reference | UUT | Percent Error | Pass / Fail | Reference | UUT | Percent Error | Pass / Fail
0V | 0.002
5V | 0.002
10V | 0.002
30V | 0.03
Front Panel Current Input Jacks
|  | As Found |  |  |  | As Left
Set point | Tolerance | Reference | UUT | Percent Error | Pass / Fail | Reference | UUT | Percent Error | Pass / Fail
4mA | 0.006
12mA | 0.006
20mA | 0.005