## Revision Log
REVISION LOG: Data Template - MC1, MC2, MC6 & ATE-X
Revision Number | Date | Comments | Author | Function
0 | 2020-05-12 | Initial creation of spreadsheet. | Robert A. Maldonado | Associate Metrology Engineer

## Data Template
Data Template - MC6, MC2, ATE-2
Plant |  | TEMP - HUM - PRESS - DEW
Serial Number |  | MW-MFC |  | XXDWY00- |  | Date
|  | As Found |  |  | As Left
Pressure module | Tolerance | Reading | 100% | 50% | Reading | 100% | 50%
0V | 5e-05 |  | FAIL | FAIL |  | FAIL | FAIL
0.5V | 5e-05 |  | FAIL | FAIL |  | FAIL | FAIL
1V | 5e-05 |  | FAIL | FAIL |  | FAIL | FAIL
Voltage input jacks
0V | 0.0025 |  | FAIL | FAIL |  | FAIL | FAIL
5V | 0.0025 |  | FAIL | FAIL |  | FAIL | FAIL
10V | 0.0025 |  | FAIL | FAIL |  | FAIL | FAIL
30V | 0.03 |  | FAIL | FAIL |  | FAIL | FAIL
Current input jacks
4mA | 0.006 |  | FAIL | FAIL |  | FAIL | FAIL
12mA | 0.006 |  | FAIL | FAIL |  | FAIL | FAIL
20mA | 0.006 |  | FAIL | FAIL |  | FAIL | FAIL