## Revision Log
REVISION LOG: LIMS Complaints Log
Revision Number | Date | Comments | Author | Function
0 | 2019-11-22 | Initial creation of spreadsheet | Robert A. Maldonado | Engineering Lab Technician, Generalist

## 2019-C-L
Relevance of Complaint Legend
High | Complaint is incredibly relevant and requires immediate attention. This complaint harbors the potential for immediate impact on laboratory activities and can negatively affect laboratory quality/management system or customer view of said system.
Medium | Complaint is valid. These complaints harbor the potential for impact on laboratory activities as well as growth as a risk to the customers view of the laboratory.
Low | Complaint is identified but potentially may not have an affect on the laboratories activities, and although it harbors the potential for growth as a risk on laboratory activities, it is identified as low priorty and is to be evaluated after medium and high risk items have been resolved.
Dwyer Instruments, Inc. - Michigan City: Engineering Laboratory - LIMS Complaints Log
C# | Party Generating Complaint | Date Generated | Complaint Description | Personnel Involved | Location | Relevance of Complaint | Complaint Investigation Findings | Root Cause Analysis Performed (Yes/No) | Action Taken to Resolve Complaint | Effectiveness of Any Solution Implemented | Date of Completion/Resolution of Complaint | Status (Reserved, To Be Review, Unfinished, In-Progress, Completed, Closed)
2019-DWYC-0001 | Roger Shumaker | 2019-12-20 | OFI issue with LIMS program. | Robert Maldonado | Documentation | High | OFI's can be submitted without filling in all required fields. |  |  |  |  | To Be Reviewed
2019-DWYC-0002 | Roger Shumaker | 2019-12-20 | The LIMS program does not automatically update the calibration certificate number when an amendment is done. | Robert Maldonado | Documentation | High | Perform a certificate amendment and review the number field on the certificate. |  |  |  |  | To Be Reviewed
2019-DWYC-0003 | Roger Shumaker | 2019-12-20 | Formal procedures from 2 years ago remain unreleased. | Roger Shumaker, Jason Berry, Jennifer Estep, Steve Burke | Documentation | High | Review Spi directory, lab procedures are not there. |  |  |  |  | To Be Reviewed

## C-L
Relevance of Complaint Legend
High | Complaint is incredibly relevant and requires immediate attention. This complaint harbors the potential for immediate impact on laboratory activities and can negatively affect laboratory quality/management system or customer view of said system.
Medium | Complaint is valid. These complaints harbor the potential for impact on laboratory activities as well as growth as a risk to the customers view of the laboratory.
Low | Complaint is identified but potentially may not have an affect on the laboratories activities, and although it harbors the potential for growth as a risk on laboratory activities, it is identified as low priorty and is to be evaluated after medium and high risk items have been resolved.
Dwyer Instruments, Inc. - Michigan City: Engineering Laboratory - LIMS Complaints Log
C# | Party Generating Complaint | Date Generated | Complaint Description | Personnel Involved | Location | Relevance of Complaint | Complaint Investigation Findings | Root Cause Analysis Performed (Yes/No) | Action Taken to Resolve Complaint | Effectiveness of Any Solution Implemented | Date of Completion/Resolution of Complaint | Status (Reserved, To Be Review, Unfinished, In-Progress, Completed, Closed)